## Workbook
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM
PY2021 Home Efficiency Workbook
Form Use: This form is to be used to submit reservation requests and incentive payment requests Sections 1-4: Used to specify proposed work scope, and upon approval, reserve program incentives for a period of 30 days. Please note: All approved customers will have received a confirmation number via email indicating that they are eligible for Program Incentives.
When submitting the Work Scope, Incentive Application and required documentation, please send all required documents to: ResidentialEEApplications@ameren.com
RESERVATION REQUEST - SUPPORTING DOCUMENTATION CHECKLIST
• ACCA Approved Building Load Calculation Based on Improved (Post Retrofit) Home • Inspection Disclaimer Form for All Projects • Energy Audit Test Form | [5 empty] | • Supporting Photos, Diagrams, or Notes • AHRI Certificates for All Applicable Equipment • Ancillary Costs Form for Tier 1 and Tier 2 applicants
INCENTIVE PAYMENT REQUEST - PROJECT COMPLETION SUPPORTING DOCUMENTATION CHECKLIST
• Signed and dated customer contract and any authorized change orders clearly indicating scope and value of work, including Ameren Illinois incentives. • Customer invoice clearly listing the phrase “Ameren Illinois Energy Efficiency Program Incentive” and corresponding amount has been subtracted from the amount due. | [5 empty] | • Energy Audit Test Form • AHRI certificates for all installed equipment (if different from AHRI certificate submitted for reservation request) • Supporting Photos, Diagrams, or Notes
Highlighted Fields Denotes Required Information. All Other Fields Required Only If Applicable to Project or Work Proposed
On Bill Financing Desired?
Name | [13 empty] | Tier
Address | [6 empty] | City | [6 empty] | IL | ZIP code
Email Address (or none) | [13 empty] | Primary Phone
Ameren Gas Customer |  |  | Ameren Electric Customer |  |  |  | Ameren Illinois Account Number
Year Home Built (Estimated) |  |  | Floor Area of Conditioned Space (SF) |  |  |  | Foundation Type | [6 empty] | Number of Floors
Existing Primary Cooling / Air Source Heat Pump Equipment (If two or more units exist, please provide and separate model numbers, age, etc. with an *)
Manufacturer (existing unit) | [7 empty] | Model # (existing unit) | [6 empty] | Year of Manufacture
Type |  |  |  |  | Cooling Capacity (Btuh) | [5 empty] | Rated SEER
Existing Primary Heating Equipment (If two or more units exist, please provide and separate model numbers, age, etc. with an *)
Manufacturer (existing unit) | [7 empty] | Model # (existing unit) | [6 empty] | Year of Manufacture
Type |  |  |  |  | Input (Btuh or KwH) | [5 empty] | Rated AFUE |  |  |  | Measured AFUE
Project Notes - Please Describe Below Unique and/or Unusual Circumstances that Support Measure or Project Eligibility for Consideration
SECTION 2: ALLY INFORMATION
Primary Program Ally "A" | [9 empty] | Ally Role
Contact Name For Work Scope |  |  |  |  | Phone Number |  |  |  |  | Email
Start Date |  |  |  |  | Completion Date |  |  |  |  | Hours on the job
Program Ally "B" | [9 empty] | Ally Role
Contact Name For Work Scope |  |  |  |  | Phone Number |  |  |  |  | Email
Start Date |  |  |  |  | Completion Date |  |  |  |  | Hours on the job
SECTION 3: ENERGY EFFICIENCY MEASURE INFORMATION
Ally | BUILDING ENVELOPE MEASURES |  |  | AVAILABLE INCENTIVE |  | QUANTITY |  |  | ALLY COST |  |  | TOTAL INCENTIVE |  |  |  |  | NET CUSTOMER COST
A | Air Sealing |  |  | 0 | per CFM50 | 0 | [5 empty] | 0 |  |  |  |  | 0
| Baseline blower door CFM50: |  |  | This is a required field if air sealing incentives are being requested.
| Final blower door CFM50: |  |  | Please provide target final blower door number with reservation.
A | Attic Insulation |  |  | FALSE | per SF (net) | 0 | [5 empty] | 0 |  |  |  |  | 0
| Location - Area 1 |  |  |  | SQFT |  |  |  | Pre-install R-value |  |  |  |  | Final R-value
| Existing Type / Depth of Attic Insulation |  |  |  | Condition | [5 empty] | Bag Count |  |  | Installed Type
| Location - Area 2 |  |  |  | SQFT |  |  |  | Pre-install R-value |  |  |  |  | Final R-value
| Existing Type / Depth of Attic Insulation |  |  |  | Condition | [5 empty] | Bag Count |  |  | Installed Type
A | Attic Insulation |  |  | FALSE | per SF (net) | 0 | [5 empty] | 0 |  |  |  |  | 0
| Location - Area 1 |  |  |  | SQFT |  |  |  | Pre-install R-value |  |  |  |  | Final R-value
| Existing Type / Depth of Attic Insulation |  |  |  | Condition | [5 empty] | Bag Count |  |  | Installed Type
| Location - Area 2 |  |  |  | SQFT |  |  |  | Pre-install R-value |  |  |  |  | Final R-value
| Existing Type / Depth of Attic Insulation |  |  |  | Condition | [5 empty] | Bag Count |  |  | Installed Type
A | Wall Insulation - Empty cavity to R11 or greater |  |  | 0 | per SF (net) | [6 empty] | 0 |  |  |  |  | 0
| Location | Exterior Wall | [6 empty] | Pre-install R-value |  |  |  |  | Final R-value
| Percentage of Wall at Existing R-Value |  |  |  | Bag Count |  |  |  | Type
A | Kneewall Insulation - Empty cavity to R11 or greater |  |  | 0 | per SF (net) | [6 empty] | 0 |  |  |  |  | 0
| Location | Kneewalls | [6 empty] | Pre-install R-value |  |  |  |  | Final R-value
[9 empty] | Bag Count |  |  |  |  | Type
A | Rim Joist Insulation - R10 or greater |  |  | 0 | per LF | [6 empty] | 0 |  |  |  |  | 0
| Location | Rim Joists | [6 empty] | Pre-install R-value |  |  |  |  | Final R-value
Type
A | Crawl Space Wall Insulation - R10 or greater |  |  | 0 | per LF | [6 empty] | 0 |  |  |  |  | 0
| Location | Crawl Space | [6 empty] | Pre-install R-value |  |  |  |  | Final R-value
| Wall Height | [7 empty] | Type
A | Duct Sealing |  |  | 0 | per home | [6 empty] | 0 |  |  |  |  | 0
| Ductwork in Unconditioned Space (%) |  |  | Type of Ductwork |  |  |  |  | Air Handler Location
| Distribution Efficiency Before Sealing (%) |  |  | 50% or more of the heating ductwork must be in Unconditioned Space
| Distribution Efficiency After Sealing (%) |  |  | Duct Sealing Results Per BPI Lookup Table
A | Continuous Exhaust Ventilation Fan |  |  | 0 | per unit | [6 empty] | 0 |  |  |  |  | 0
| Manufacturer | [7 empty] | Model #
| Ventilation Rate (CFM) | [7 empty] | Ventilation Run Time (min/hr)
A | Smart Thermostat |  |  | 0 | per unit | [6 empty] | 0 |  |  |  |  | 0
| Existing Manufacturer | [7 empty] | Existing Model #
| Proposed Manufacturer | [7 empty] | Proposed Model #
A | Heat Pump Water Heater (Energy Star) |  |  | 0 | per home | [6 empty] | 0 |  |  |  |  | 0
| Existing Type | [7 empty] | Rated Capacity (Gallons)
| Proposed Manufacturer | [7 empty] | Proposed Model #
A | Heating System 1 |  |  | FALSE | per unit | [6 empty] | 0 |  |  |  |  | 0
| Manufacturer | [7 empty] | Model #
| AHRI # |  |  |  | AFUE |  |  |  | Input MBTUH | [5 empty] | Includes ECM
A | Heating System 2 |  |  | FALSE | per unit | [6 empty] | 0 |  |  |  |  | 0
| Manufacturer | [7 empty] | Model #
| AHRI # |  |  |  | AFUE |  |  |  | Input MBTUH | [5 empty] | Includes ECM
A | Cooling System 1 |  |  | FALSE | per unit | [6 empty] | 0 |  |  |  |  | 0
| Manufacturer | [7 empty] | Model #
| AHRI # |  |  |  | Cooling Capacity (Btuh) | [5 empty] | SEER Rating |  |  |  | EER Rating
| Heating Capacity (Btuh) @ 47 F |  |  |  | HSPF Rating | [5 empty] | Heating Capacity (Btuh) @ 17 F
A | Cooling System 2 |  |  | FALSE | per unit | [6 empty] | 0 |  |  |  |  | 0
| Manufacturer | [7 empty] | Model #
| AHRI # |  |  |  | Cooling Capacity (Btuh) | [5 empty] | SEER Rating |  |  |  | EER Rating
| Heating Capacity (Btuh) @ 47 F |  |  |  | HSPF Rating | [5 empty] | Heating Capacity (Btuh) @ 17 F
A | Room Air Conditioner (Energy Star) |  |  | 0 | per unit | [6 empty] | 0 |  |  |  |  | 0
| Manufacturer | [7 empty] | Model #
| Cooling Capacity (Btuh) |  |  |  | CEER | [5 empty] | Louvered Sides
Removed unit(s) must be recycled through Program authorized methods
A | High Efficiency Blower Motor - New Gas Furnace |  |  | 0 | per unit |  |  |  | 0 |  |  | 0 |  |  |  |  | 0
| High Efficiency Blower Motor - Retrofit |  |  | 0 | per unit | [6 empty] | 0 |  |  |  |  | 0
Energy Efficiency Measure Totals | [8 empty] | 0 |  |  | 0 |  |  |  |  | 0
Additional Energy Efficiency Cost
Ally | DESCRIPTION (Please line item each measure) | [13 empty] | QTY | CUSTOMER COST
A
B
A
A
A
A
A
A
A
A
A
A
A
A
A
Total Additional Energy Efficiency Cost | [15 empty] | 0
SECTION 4: FINANCIAL SUMMARY
- Primary Ally A - Total Ally Job Cost | [15 empty] | 0
- Primary Ally A - Total Incentive | [15 empty] | 0
- Primary Ally A - Bonus
- Primary Ally A - Program Financing Requested
- Primary Ally A - Net Customer Out of Pocket Cost | [15 empty] | 0
- Ally B - Total Ally Job Cost | [15 empty] | 0
- Ally B - Total Incentive | [15 empty] | 0
- Ally B - Bonus
- Ally B - Program Financing Requested
- Ally B - Net Customer Out of Pocket Cost | [15 empty] | 0
Total Project Cost | [15 empty] | 0
Total Project Incentive | [15 empty] | 0
Total Project Bonus | [15 empty] | 0
Total Customer Cost | [15 empty] | 0
Total Program Financing Requested | [15 empty] | 0 |  | % Additional Cost
Final Net Customer Out of Pocket Cost | [15 empty] | 0 |  | -
Were any disclaimer form related items discovered?
Was combustion safety testing required?
Has ventilation requirements been discussed?
SECTION 5: RESERVATION REQUEST - CUSTOMER AUTHORIZATION OF PROJECT
I, the undersigned, agree that the information above is representative of what has been discussed and proposed by the participating program ally (contractor). I understand that Ameren Illinois program incentives and financing are subject to qualifications and not guaranteed.
Customer Signature | [12 empty] | Date
Program Ally Signature | [12 empty] | Date
SECTION 6 INCENTIVE PAYMENT REQUEST - ACKNOWLEDGEMENT OF PROJECT COMPLETION
I certify the information I have provided is true and correct and any work performed meets the program guidelines and Terms and Conditions of the Program. I hereby request an incentive for the above listed work and understand the incentive cannot exceed 100% of project cost. I agree to allow Ameren Illinois Program staff to perform an on-site Quality Assurance inspection to confirm test results and verify the work performed. Do not sign prior to project completion.
Customer Signature | [12 empty] | Date
Program Ally Signature | [12 empty] | Date
PY2021 - Rev 8.0

## Transmittal Res (hidden)
Reservation Approval
To: | Slipstream Financial
CC: | ,
From: | TR
Date: | Date
Re: | Satisfactory Review
Opportunity: | Opportunity Name
The following job scope has been reviewed and found to comply with current HEP-IQ program requirements. Project Approvals expire 60 DAYS from the date of transmittal. Projects not completed within this timeframe must be re-approved by the Program under the current program eligibility rules.
Project must be completed by: | #VALUE!
Participating Contractor(s): | ,
Customer Name: | 0
Customer Address: | 0
, IL
Energy Efficiency Measure | QTY | Price | Incentive | Net Cost | E | G | Rates | PP (Max)
Air Sealing | - | - | - | 0 | 0 | 0 | - | 0.7
Attic Insulation | - | - | - | 0 | 0 | 0 | - | 0
Attic Insulation | - | - | - | 0 | 0 | 0 | - | 0
Wall Insulation | - | - | - | 0 | 0 | 0 | - | 1.8
Kneewall Insulation | - | - | - | 0 | 0 | 0 | - | 1.8
Rim Joist Insulation | - | - | - | 0 | 0 | 0 | - | 4
Crawl Space Wall Insulation | - | - | - | 0 | 0 | 0 | - | check wall height ($5.50/$7.00)
Duct Sealing | - | - | - | 0 | 0 | 0 | - | 400
Smart Thermostat | - | - | - | 0 | 0 | 0 | - | 300
Continuous Exhaust Ventilation Fan | - | - | - | 0 | 0 | 0 | - | $412/$512
Heat Pump Water Heater (Energy Star) | - | - | - | 0 | 0 | 0 | - | check size
Heating System 1 | - | - | - | 0 | 0 | 0 | - | check size
Heating System 2 | - | - | - | 0 | 0 | 0 | - | check size
Cooling System 1 | - | - | - | 0 | 0 | 0 | - | check size
Cooling System 2 | - | - | - | 0 | 0 | 0 | - | check size
Room Air Conditioner (Energy Star) | - | - | - | 0 | 0 | 0 | - | check size
High Efficiency Blower Motor | - | - | - | 0 | 0 | 0 | - | 200
Additional Energy Efficiency Cost | - | - | - | 0 | 0 | 0
Project Financials | Price | Incentive | Bonus | Net Cost | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
Total Project | 0 | 0 | 0 | 0
Financing Principle |  | Electric | Gas | Total
0 |  | #DIV/0! | #DIV/0! | 0
0 |  | #DIV/0! | #DIV/0! | 0
Job Review Notes:
Rev. 12/7/20

## Transmittal Inc (hidden)
Project Completion
To: | Slipstream Financial
CC: | ,
From: | TR
Date: | Date
Re: | Satisfactory Review
Opportunity: | Opportunity Name
The following comleted job scope has been reviewed and found to comply with current HEP-IQ program requirements.
Participating Contractor(s): | ,
Customer Name: | 0
Customer Address: | 0
, IL
Energy Efficiency Measure | QTY | Price | Incentive | Net Cost | E | G | Rates | PP (Max)
Air Sealing | - | - | - | 0 | 0 | 0 | - | 0.7
Attic Insulation | - | - | - | 0 | 0 | 0 | - | 0
Attic Insulation | - | - | - | 0 | 0 | 0 | - | 0
Wall Insulation | - | - | - | 0 | 0 | 0 | - | 1.8
Kneewall Insulation | - | - | - | 0 | 0 | 0 | - | 1.8
Rim Joist Insulation | - | - | - | 0 | 0 | 0 | - | 4
Crawl Space Wall Insulation | - | - | - | 0 | 0 | 0 | - | check wall height ($5.50/$7.00)
Duct Sealing | - | - | - | 0 | 0 | 0 | - | 400
Smart Thermostat | - | - | - | 0 | 0 | 0 | - | 300
Continuous Exhaust Ventilation Fan | - | - | - | 0 | 0 | 0 | - | $412/$512
Heat Pump Water Heater (Energy Star) | - | - | - | 0 | 0 | 0 | - | check size
Heating System 1 | - | - | - | 0 | 0 | 0 | - | check size
Heating System 2 | - | - | - | 0 | 0 | 0 | - | check size
Cooling System 1 | - | - | - | 0 | 0 | 0 | - | check size
Cooling System 2 | - | - | - | 0 | 0 | 0 | - | check size
Room Air Conditioner (Energy Star) | - | - | - | 0 | 0 | 0 | - | check size
High Efficiency Blower Motor | - | - | - | 0 | 0 | 0 | - | 200
Additional Energy Efficiency Cost | - | - | - | 0 | 0 | 0
Project Financials | Price | Incentive | Bonus | Net Cost | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
Total Project | 0 | 0 | 0 | 0
Financing Principle |  | Electric | Gas | Total
0 |  | #DIV/0! | #DIV/0! | 0
0 |  | #DIV/0! | #DIV/0! | 0
Job Review Notes:
Rev. 12/7/20

## Ancillary Costs
Energy Efficiency Program
HEIQ Ancillary Costs Information Form
Please complete all required information and submit this form as an attachment to the Reservation Request
CUSTOMER AND PROGRAM ALLY INFORMATION
Project ID: |  |  |  | Date:
Customer Name:
Company Name: |  |  |  | Employee Name:
Not Applicable
ANCILLARY COSTS INFORMATION
* | Additional Items (Itemized) | Details of why additional items are needed |  |  |  | Cost
|  | Additional Items Total: |  |  |  | 0
*Check this box if an item is associated with a remediation cost ie. knob and tube, moisture issues, etc.
General Notes:
I, the undersigned, understand all of the costs associated with the additional items listed above. I understand that these costs are my responsibility to pay and I am comfortable with this total out of pocket cost.
Print Customer Name: |  |  | Customer Signature:
Program Ally Signature: |  |  |  |  | Date:
PLEASE DIRECT ALL CORRESPONDENCE TO: Ameren Illinois Energy Efficiency Programs 300 Liberty Street, 4th Floor, Peoria IL 61602 Toll-free: 1.866.838.6918 Fax: 1.309.677.7961 AmerenIllinoisSavings.com

## Inspection Disclaimers
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM
Energy Audit Inspection Disclaimers
Please complete the application, provide a copy to the customer, attach required documentation and send it to the following email address: ResidentialEEApplications@ameren.com. All projects will receive a reservation number via email. The reservation number is required prior to project start date. All program paperwork must be submitted within 30 days of the project completion or by December 31st, whichever comes first.
SECTION 1: CUSTOMER INFORMATION
Name: | [5 empty] | Primary Phone: | [5 empty] | Assessment Date
Address: | [5 empty] | City: | [5 empty] | IL | Zip Code:
Email:
SECTION 2: PROGRAM ALLY INFORMATION
Program Ally: | [6 empty] | Email:
Audit Technician: | [6 empty] | Phone:
SECTION 3.1: INSPECTION INFORMATION (Check all applicable areas)
ASBESTOS | [9 empty] | Applicable |  |  | Not Applicable
The following suspected Asbestos Containing Materials (ACMs) were identified in your home. It is important to understand that it is not possible to determine if a material has asbestos without professional testing and for this reason all possible ACMs must be treated as if it contains asbestos. This may disqualify your home from participation in the Ameren Illinois Energy Efficiency Program; however, proper precautions must be taken to ensure the suspect ACMs will not be disturbed. As a result, any measure that would result in work taking place in an area with suspect ACMs or that could disturb the asbestos is not allowed. For more information regarding asbestos, please visit www.epa.gov/asbestos and refer to “Suspect ACM White Paper”.
| Vermiculite |  |  | Location:
| Suspect Asbestos Siding |  |  | Location:
| Suspect Asbestos Duct Wrap and/or Flue Pipe |  |  | Location:
| Other: |  |  | Location:
COMBUSTION SAFETY INSPECTION | [9 empty] | Applicable |  |  | Not Applicable
A combustion safety inspection was performed on your home to identify potential health and safety concerns. The testing was conducted in accordance with the Building Performance Institute ANSI/BPI-1200-S standard. The following combustion safety conditions were identified:
| Ambient Combustible Fuel Gas is greater than 10% Lower Explosive Limit (LEL) | [7 empty] | Carbon Monoxide detector is missing or inoperable
| Combustible Fuel Lines register a potential gas leak | [7 empty] | Ameren Illinois Gas Leak procedure was enacted
| Ambient Carbon Monoxide (CO) is between 36-69 PPM | [7 empty] | Ambient Carbon Monoxide (CO) is greater than 69 PPM
Visual Inspection of the Combustion Appliance Zone (CAZ) has revealed the following:
| Appliance Spillage (Back drafting) |  | Location 1: | [5 empty] | Location 2:
| High Undiluted Carbon Monoxide (CO) at Appliance(s) |  | Location 1: | [5 empty] | Limit: |  |  | Measurement (PPM):
|  |  | Location 2: | [5 empty] | Limit: |  |  | Measurement (PPM):
Gas Oven has a Carbon Monoxide (CO) reading of greater than 225 parts per million (PPM); service required prior to building envelope work
Unvented gas heater that does not comply with ANSI Z21.11.2. This appliance needs to be removed prior to building envelope work.
Notes:
These issues can cause potentially life threatening or hazardous situations. You are not eligible for Home Efficiency Program incentives for building envelope measures until these combustion safety issues are resolved by a qualified service technician. The service technician must leave a written certification that all combustion safety issues in your home are resolved. This must include (in writing) undiluted CO and draft test results indicating that the issue has been resolved per Building Performance Institute standards. This documentation must be emailed to the email address at the top of this form.
SECTION 3.2: INSPECTION INFORMATION (Check all applicable areas)
ATTIC ELECTRICAL | [9 empty] | Applicable |  |  | Not Applicable
Attic has exposed wiring junctions, open junction boxes, or fixtures that need to be properly sealed for building envelope work to proceed.
KNOB & TUBE WIRING | [9 empty] | Applicable |  |  | Not Applicable
Evidence of Knob & Tube wiring has been observed in the following locations: | [7 empty] | Attic |  | Walls |  | Basement
Indications of “knob and tube” wiring were discovered. This old style of wiring involves individual wires that are run through walls and ceilings in a house, with ceramic “knobs” and “tubes” to prevent contact with wood framing. The knob and tube wiring that has been noted may or may not appear to be active. Even if the observed wiring appears to be inactive, there may still be active knob and tube circuits hidden inside walls or other inaccessible areas of the house. Program guidelines require that you must have the home checked by a licensed electrician and certified as being free of any and all active knob and tube wiring, before insulation and/or air sealing work can be done. Your licensed electrician will need to certify in writing the absence of any knob and tube wiring by filling out and submitting a signed copy of this document to the Home Efficiency Program in order to verify the absence or inactivity of the knob and tube wiring in the areas of your home where we are proposing insulation to be installed. Due to the liability involved in signing such a form, we suggest you show or describe this form to your electrician before hiring him to inspect your home to be sure he / she is willing to sign it. (Any additions, deletions or other alterations will render this form invalid).
IMPORTANT: The completed certification form at the end of this document MUST be received by the Home Efficiency Program at the address listed below before a Contract is issued for energy-saving insulation and/or air sealing work.
MOISTURE RELATED ISSUES | [9 empty] | Applicable |  |  | Not Applicable
There are exterior bulk moisture concerns related to the following items (examples: gutter, grading, roofing, siding)
Describe:
There is standing water observed in the following areas (examples: crawl space, basement)
Describe:
There are other moisture concerns in the following areas (examples: open sump pit, leaking plumbing, dryer venting)
Describe:
All water related issues; leaking roofs, standing water in the crawl space, water leaks in the basement, for example (there are additional issues that are to numerous to include in this document) must be corrected before any work can be started on the home.
MOLD-LIKE SUBSTANCE | [9 empty] | Applicable |  |  | Not Applicable
A mold-like substance has been found in one or more areas of your home. Mold is an organic substance that has been shown to cause adverse health effects in some individuals.
When a mold-like substance is found to be present in an area of your home and it exceeds an area greater than 10 square feet, your home is not eligible for financial incentives from the Ameren Illinois Energy Efficiency programs until one of the following conditions has been met: 1. An experienced professional contractor has remediated the mold and has attested to its remediation in writing. 2. An experienced professional contractor has determined that the substance is not mold and does not need to be remediated and has attested to this determination in writing. Your experienced professional contractor must fill out and sign the statement below. Due to the liability involved in signing such a statement, it is suggested you show or describe this form to your experienced professional contractor before hiring them to be sure that they are willing to sign it. Any additions, deletions, or other alterations will render this form invalid. For a mold-like substance less than 10 square feet, your home is not eligible for financial incentives. For more information please visit http://www.epa.gov/mold
| The mold-like substance is greater than 10 square feet (professional remediation required) | [8 empty] | The mold-like substance is 10 square feet or less
IMPORTANT: The completed certification form at the end of this document MUST be received by the Home Efficiency Program at the address listed below before a Contract is issued for energy-saving insulation and/or air sealing work.
STORAGE REMOVAL | [9 empty] | Applicable |  |  | Not Applicable
It has been determined your attic space would benefit from adding blown-in fiber insulation to your attic floor. The process of blowing in fibrous insulation in your attic will create dust which may accumulate on storage located in that area. Please take the necessary actions listed below before the insulation work commences:
Storage Removal: You must remove your storage and relocate it to a new permanent location, so that the entire attic area can be insulated and air sealed. You will not be left with a storage area after insulation work has been completed.
Knee Wall Storage: You must temporarily relocate your storage so that the Program Ally has total access to this area to complete the recommended insulation upgrades. Your storage can later be put back into this area after the Program Ally has completed the work.
Condense Storage: You must condense your storage to an area in the attic that has been determined by you and your Program Ally. This will allow for the entire attic to be insulated and/or air sealed, except for the area that you want to leave for your condensed storage. If you plan on leaving your condensed storage in the attic during the installation of the blown cellulose insulation, you will need to cover this storage if you don’t want dust to accumulate on your storage items.
Platform Build Up: If you are interested in having your entire attic insulated and you still want to leave your storage in the attic, you can build a raised platform in your attic that will be higher than the insulation that will be blown. This will allow you put your storage back on top of the platform without compressing the insulation that would result in compromising the R-value of the new blown-in insulation.
SECTION 3.3: INSPECTION INFORMATION (Check all applicable areas)
INTERIOR DENSE PACK "DRILL AND BLOW" | [9 empty] | Applicable |  |  | Not Applicable
It has been determined your home would benefit from having fiber insulation blown into your walls or “interior drill and blow." Interior drill and blow requires holes to be drilled from the inside of the living space and can be a very intrusive and dusty process. To ensure that this job goes smoothly, you (the homeowner) must ensure that all furniture and any clothing located in adjacent areas to the exterior walls (that are being treated) must be moved away from those walls and covered with plastic prior to commencement of the job for that day. Once the insulation is blown in, the contractor’s responsibility will be to plug the access holes and treat the surface with an initial application of spackle/filler. The homeowner is responsible for any additional work to the treated areas, including cleaning, dusting and painting to achieve the desired finished conditions unless other wise specified. Please sign below in recognition of having been fully informed of the work and possible inconvenience caused by the interior drill and blow process.
By checking the box and signing below you acknowledge the disclaimers, as described above, exist in your home, you have been informed of the situation, and you agree to hold Ameren Illinois, and its subcontractors harmless. Ameren Illinois expressly disclaims any and all warranties or representations of any kind, whether oral, statutory, expressed or implied, including without limitation warranties of suitability or fitness. This notice does not constitute an endorsement or warranty regarding the presence or absence of other real or potential health and safety hazards that may exist at this address or on the premises.
Customer Signature: Date:
Program Ally Signature: Date:
Special Note: Form must be submitted completely and accurately and must be approved prior to work beginning. If approval is not received prior to work beginning, the incentive will not be paid. The form should be emailed to: ResidentialEEApplications@ameren.com. The subject line and file name must read: Program Ally Name_Homeowner Last Name_Homeowner First Name_ Program Name (Ex: Insulators Inc_Jones_Mary). The reservation number will be emailed to you at the address listed above. The reservation number is not transferable and must be provided on all incentive forms. If the customer decides not to participate in the program, please email us immediately.
SECTION 4: PROOF OF REMEDIATION
KNOB AND TUBE REMEDIATION
Electrician's Printed Name: | [9 empty] | License #:
I have performed an inspection of the home located at the below address and upon completion of my inspection, I have found that there is no active knob and tube wiring in the initialed area(s):
|  | Attic: |  |  | Walls: |  |  | Basement:
Address: | [5 empty] | City: |  |  |  |  | IL | Zip Code:
Signature of the Electrician: | [12 empty] | Date:
MOLD REMEDIATION
Certified Remediation Company: | [9 empty] | License #:
Inspecting Agent Printed Name:
I have performed an inspection of the home located at the below address and upon completion of my inspection, I have found that all mold has been remediated.
Address: | [5 empty] | City: |  |  |  |  | IL | Zip Code:
Signature of Inspecting Agent: | [12 empty] | Date:
AMEREN ILLINOIS RESIDENTIAL ENERGY EFFICIENCY PROGRAM TERMS AND CONDITIONS
1. Definitions – In addition to terms defined elsewhere herein, when any one of the following terms is used in these Terms and Conditions, wherein the first letter is written with a capital letter, then that term shall have the following definition. Words importing persons include corporation, and words importing only the singular include the plural and vice versa when the context requires. a) “Ameren Illinois” shall mean Ameren Illinois Company d/b/a Ameren Illinois. b) “Program Ally” shall mean contractors/allies who have met the minimum qualifications established by Ameren Illinois and are allowed to offer program incentives. c) “Application” shall mean the Customer or Program Ally completed document used to apply for cash incentives or used for any other appropriate application-specific documentation. d) “Customer” shall mean an Eligible Customer who has submitted an Application for incentive money using their Ameren Illinois account number. The Customer abides by these Terms and Conditions upon acceptance of Customer’s Application by Ameren Illinois. e) “Eligible Customer” shall mean a residential customer of Ameren Illinois, with an active Ameren Illinois-delivered electric or gas account residing in an existing home or new construction. Individually metered residential multifamily units must have prior program approval to participate. Installations performed between January 1, 2020 to December 31, 2020 are eligible for incentives or until incentive funds are exhausted. Equipment and/or materials must be installed by a participating Program Ally at the Customer’s address listed on the Application. The Application must be filled out completely and accurately, signed and accompanied by dated copies of the invoices. See the project/measure eligibility for requirements specific to individual incentives. f) “Program” shall mean the energy efficiency plan or measure that is the subject of the Application. g) “Program Manager” shall mean the Ameren Illinois designee in charge of the Application. h) “Reservation of Funds”, when required, shall mean written notification to Program Ally of a pre-approved incentive amount, which Ameren Illinois issues after review Program Ally’s request for funds.
2. General – Customer and Program Ally shall abide by these Terms and Conditions; abide by all Local, State and Federal guidelines, applicable laws, building codes, regulations and licensing requirements; and perform work in accordance with customary installation standards, and/or according to manufacturer specifications.
3. Procedures & Reporting – Program Ally shall follow Program procedures of; a) verifying eligibility of Customer and work to be performed; b) reserving funds from Program in advance of the project commencing; and, c) submitting a reservation form and/or Application supplied by the Program for work performed with all required documentation. Program Ally agrees to provide all documentation associated with specified projects for quality assurance. Program Ally must provide necessary supporting documentation of services rendered including invoices and site assessment reports as requested.
4. Independent Contractor – Listing in the Program Ally database does not constitute any endorsement of the Program Ally by Ameren Illinois. Program Ally is an independent contractor participating in the Program and not an employee of, or under contract to, Ameren Illinois or Program staff and authorized Ameren Representatives. Program Ally is not authorized to assume or create any obligation or liabilities, express or implied, on behalf of or in the name of Ameren Illinois or Program staff and authorized Ameren Representatives. Program Ally shall properly represent this to the Customers.
5. Warranty of Work – Program Ally shall provide the Customer a written warranty covering both labor and materials for a minimum of one year from the date the service is performed. All materials installed shall carry the manufacturer’s warranty, which will be provided to the Customer. Offers of, and documentation referring to, any applicable extended warranty coverage shall be supplied to the Customer.
6. Quality Assurance – Program Ally will maintain effective procedures for quality assurance as for resolution of Customer complaints or disputes and for response to Customer emergencies. Program Ally agrees to make its quality assurance procedures available to the Program for review and upon request. Only trained and skilled personnel of Program Ally shall supervise any project performed under the Program. All work is subject to quality assurance and verification inspections by Program before incentive payments are paid. Ameren Illinois is the sole authority in determining that the work is complete and eligible for payment. If the applicable Program Manager determines Program Ally’s work is not up to Program standards, upon request from the Program Representative, Program Ally shall make reasonable repairs or corrections to bring such work up to Program standards at no additional cost to the Customer. Program Manager shall have sole authority in determining the necessary remedies to correct faulty work.
7. Pre and Post Installation Verification – Ameren Illinois is not obligated to make any incentive payment until it has performed a satisfactory post-installation verification. This provision may be waived at the sole discretion of Ameren Illinois. Inspections conducted are solely for the purpose of determining Program compliance and are not safety or building code inspections.
8. Incentive Payments/Limits – For all Applications, Ameren Illinois is not obligated to award any incentive payment unless a reservation form and/or Application is submitted and granted. Customer and Program Ally are responsible for ensuring the Application is accurate and equipment meets eligibility requirements in order to receive the Pre-approval incentive payment. Incentive payments will be issued to Program Ally. The Program Ally shall inform Customer of Program financial incentives, and shall include a discount to the Customer in the amount of the incentive, labeled on Customer’s invoice as “Ameren Illinois Energy Efficiency Program Incentive.”
9. Indemnification – Program Ally and/or Customer hereby releases and shall indemnify, hold harmless, and defend Ameren Illinois, Program staff and authorized Ameren Representatives and any third party vendors from any and all claims, losses, harms, costs, liabilities, damages, and expenses (including attorney’s fees) of any nature whatsoever arising directly or indirectly out of or in connection within any dispute or legal suit arising from work related to the Program.
10. Changes In/Cancellation of the Program – a) Ameren Illinois may change the program requirements, incentives, or these Terms & Conditions at any time without notice, including suspending acceptance of Applications, denial of Applications already received, or terminating the Program. b) In the event of a program change, Applications that have been granted Pre-approval will be processed to completion under the Terms & Conditions in effect at the time of Pre-approval by Ameren Illinois. c) Cash incentives under the Ameren Illinois Program are offered on a first-come, first-served basis and are subject to project and Customer eligibility, and the availability of funds.
11. Miscellaneous – Ameren Illinois reserves the right to make changes to; its Program, program incentives, rules, guidelines, and these Terms and Conditions upon written notice to the Program Ally. These Terms and Conditions shall be governed by Illinois law.
updated 11-01-2019

## Diagnostic Test Form
Energy Efficiency Program
Energy Audit Diagnostic Test Form
Please complete all required information and submit this form as an attachment to the Incentive Application
Section 1: Project Identification
Name: | [6 empty] | Primary Phone:
Address: | [6 empty] | City: |  |  |  |  | IL | Zip Code:
Project ID (if required): | [5 empty] | Pre-Test Date: | [5 empty] | Post-Test Date:
Program Ally Company Name: | [7 empty] | BPI-Certified Tester Name:
Was combustion safety testing required for this home? Y / N: | [8 empty] | If not, sections 3, 4, and 5 of this form may be left blank
Section 2: Fuel Distribution System Inspection (always required when fuel lines exist in the residence)
Reference |  |  | Selected Inspection Item | [5 empty] | Pre-Test Y/N | Post-Test Y/N | Actions levels for house ambient CO BPI-1200 7.3.3.3
Conditions for entry |  |  | House ambient combustible fuel gas > 10% LEL | [7 empty] | If ambient CO is 70 PPM or greater
BPI-1200 7.3 |  |  | House ambient CO level (PPM) | [7 empty] | - Terminate the inspection
Natural gas and LP gas piping system inspection and leak testing |  |  | Gas leak testing completed | [7 empty] | - Notify occupants to evacuate
|  |  | Gas leak(s) found | [7 empty] | - Notify emergency services from outside
|  |  | Gas lines or connectors unsafe or uncoated brass | [7 empty] | If ambient CO is 36-69 PPM
BPI-1200 7.5 |  |  | Visibly worn flex gas line or pre-1973 | [7 empty] | - Advise the homeowner of elevated level
Section 3: Combustion Appliance Inspection | [10 empty] | - Open doors and windows
Visual inspection of CAZ |  |  | CAZ clear of flammable products | [7 empty] | - Recommend CO sources be turned off
|  |  | Vent connectors clearance from combustibles | [7 empty] | - Advise homeowner contact qual. professional
BPI-1200 7.7 |  |  | Garage DHW FVIR or 18” off floor (Y/N/NA) | [7 empty] | If ambient CO is 9-35 PPM
Visual inspection of combustion appliances and venting systems BPI-1200 7.8 |  |  | Venting system 1/4" rise per foot | [7 empty] | - Advise the homeowner of elevated level
|  |  | Masonry chimney lined (Y/N/NA) | [7 empty] | - Recommend open doors and windows
|  |  | Lower BTU appliance enters main flue after higher BTU appliance (Y/N/NA) | [7 empty] | - Recommend CO sources be checked
- Advise homeowner contact qual. professional
|  |  | Unvented heater ANSI Z21.11.2 label (Y/N/NA) | [7 empty] | If ambient CO < 9 PPM then no action is required
Action if house ambient combustible fuel gas is > 10% LEL: | [6 empty] | Terminate inspection, notify to evacuate, notify emergency services from outside
Minimum clearance of vent connectors from combustibles BPI-1200 Table E2: | [8 empty] | B Vent - 6 in |  | L Vent - 6 in |  | Single wall metal pipe - 9 in
If any portion of the combustion appliance and fuel distribution system inspection did not meet BPI-1200 standards, describe actions taken:
Section 4: Establishment of Greatest Possible Depressurization CAZ Conditions BPI-1200 7.9.1
Number of Combustion Appliance Zones for this test: | [8 empty] | CAZ #1 Pre | > 70? Y / N | CAZ #1 Post | > 70? Y / N | CAZ #2 Pre | > 70? Y / N | CAZ #2 Post | > 70? Y / N
Combustion Appliance Zone ambient CO level
Baseline pressure (interior doors closed except rooms with exhaust fans or returns to central air)
Pressure with exhaust equipment on
Pressure with air handler on
Pressure with air handler turned either on or off and CAZ doors open
Greatest Possible Depressurization
General Inquiries: Ameren Illinois Residential Energy Efficiency Programs • 300 Liberty Street, 4th Floor, Peoria, IL 61602
For more information contact your Field Energy Specialist • Fax: 309.677.3370 • AmerenIllinoisSavings.com | [14 empty] | HEP-1004-1119
Energy Efficiency Program
Energy Audit Diagnostic Test Form
| Project ID: | [5 empty] | Homeowner Name:
Section 5: Combustion Appliance Zone (CAZ) Spillage and CO Testing BPI-1200 7.9.2 thru 4
Under BPI Greatest Possible Depressurization Conditions
|  |  | Spillage test |  | CO pre-test (PPM) | [5 empty] | CO post-test (PPM)
| Common Vent | CAZ # | (P / F) |  | CO | O2 | CO Air-Free |  | Thresh |  | CO | O2 | CO Air-Free |  | Thresh
|  |  | Pre | Post | Meas | Meas | Calc | Meas | -hold | A / U | Meas | Meas | Calc | Meas | -hold | A / U
DHW
Heat
Other
Other
Oven | bar: Pre to Post; Meas to Meas; Meas to Meas
Actions For Failed CAZ Tests
If any appliance failed spillage or tested unacceptable for CO, or if ambient CO level in CAZ became elevated, state actions taken:
Spillage and carbon monoxide in combustion appliances BPI-1200 Annex D
For single DHW or warm vent appliance, spillage assessed at 2 minutes of main burner operation and CO air free at 5 minutes
For single cold vent appliance (except DHW), spillage and CO air free are both assessed at 5 minutes of main burner operation
For commonly vented appliances, smallest BTU first, spillage at 2 mins, CO air free at 5 mins, do not allow to cool, fire second appliance, re-assess first appliance for spillage at 2 mins, immediately assess second appliance for spillage, assess second appliance for CO air free at 5 mins
CO above threshold limit is unacceptable, advise homeowner the appliance should be serviced immediately by a qualified professional
If CO level is unacceptable and spillage is not present, testing may continue at discretion of tester
Carbon monoxide threshold limits BPI-1200 7.9.5 Table 1 |  |  | A / U: Illinois Weather & Shielding Factors; Meas: Story Factors (S) BPI-1200 Annex I.1.4
Appliance |  |  | Meas: CO Threshold Limit; A / U: (wsf) ASHRAE 62.2-2016 App B
Central Furnace (all categories) |  |  | Meas: 400 ppm air free; A / U: 0.44; Meas: Mount Vernon; Meas: Stories Above Grade; A / U: Factor
Boiler |  |  | Meas: 400 ppm air free; A / U: 0.47; Meas: Marion
Floor Furnace |  |  | Meas: 400 ppm air free; A / U: 0.48; Meas: Belleville Scott AFB; Meas: 1; A / U: 1
Gravity Furnace |  |  | Meas: 400 ppm air free; A / U: 0.51; Meas: Quincy; Meas: 1.5; A / U: 1.18
Wall Furnace (BIV) |  |  | Meas: 200 ppm air free; A / U: 0.51; Meas: Sterling / Rock Falls; Meas: 2; A / U: 1.32
Wall Furnace (Direct Vent) |  |  | Meas: 400 ppm air free; A / U: 0.55; Meas: Peoria; Meas: 2.5; A / U: 1.44
Vented Room Heater |  |  | Meas: 200 ppm air free; A / U: 0.56; Meas: Decatur; Meas: 3; A / U: 1.55
Unvented Room Heater |  |  | Meas: 200 ppm air free; A / U: 0.56; Meas: Chicago Midway
Water Heater |  |  | Meas: 200 ppm air free; A / U: 0.57; Meas: Springfield
Oven/Broiler |  |  | Meas: 225 ppm as measured; A / U: 0.57; Meas: Urbana Champaign
Clothes Dryer |  |  | Meas: 400 ppm air free; A / U: 0.57; Meas: Aurora
Refrigerator |  |  | Meas: 25 ppm as measured; A / U: 0.58; Meas: Rockford
Gas Log (gas fireplace) |  |  | Meas: 25 ppm as measured in vent; A / U: 0.58; Meas: Moline / Quad Cities
Gas Log (installed in wood burning fireplace) |  |  | Meas: 400 ppm air free in fire box; A / U: 0.58; Meas: W Chicago / Du Page
[10 empty] | 0.59 | Chicago / Waukegan
[10 empty] | 0.6 | Chicago O'Hare
[10 empty] | 0.6 | Bloomington / Normal
General Inquiries: Ameren Illinois Residential Energy Efficiency Programs • 300 Liberty Street, 4th Floor, Peoria, IL 61602
For more information contact your Field Energy Specialist • Fax: 309.677.3370 • AmerenIllinoisSavings.com |  |  | -hold: HEP-1004-1119
Energy Efficiency Program
Energy Audit Diagnostic Test Form
Project ID: |  |  | Meas: Homeowner Name:
Section 6: Blower Door Test
Initial blower door measurement Q50: |  |  | Meas: Tout:; Meas: Final blower door measurement Q50:; -hold: Tout:
Section 7: Floor Area
ASHRAE 62.2-2016 defines floor area: all above and below grade finished areas as defined in ANSI Standard Z765. ANSI Z765 defines finished area: an enclosed area in a house that is suitable for year-round use, embodying walls, floors, and ceilings that are similar to the rest of the house.
Floor area in square feet: |  |  | Meas: Stories:; Meas: Number of bedrooms:
Section 8: Ventilation Requirements Pre-Test (ASHRAE 62.2-2016)
Local demand-controlled ventilation |  |  | Meas: Required; Meas: Measured or Assume Zero; A / U: Shortfall; Meas: Window Credit 20 CFM (Y / N); Meas: Deficit
Bathroom #1 demand-controlled flow rate (CFM): |  |  | Meas: 50
Bathroom #2 demand-controlled flow rate (CFM): |  |  | Meas: 50
Bathroom #3 demand-controlled flow rate (CFM): |  |  | Meas: 50
Bathroom #4 demand-controlled flow rate (CFM): |  |  | Meas: 50
Half-Bathroom #5 demand-controlled flow rate (CFM): |  |  | Meas: 0; A / U: 0; Meas: N/A; Meas: 0
Kitchen #1 demand-controlled flow rate (CFM): |  |  | Meas: 100; Meas: 0; A / U: 100; Meas: 100
Kitchen #2 demand-controlled flow rate (CFM): |  |  | Meas: 100
Note: If the flow through an operating, vented, kitchen exhaust fan or bathroom exhaust fan cannot be measured, then assume zero CFM. ASHRAE 62.2-2016 Appendix A3.1 |  |  | Meas: Total local deficit:; Meas: 100
Is whole-building mechanical ventilation required? |  |  | Meas: Weather and shielding factor (wsf):; Meas: Story factor (S):
Required whole-house ventilation rate Qtot = (.03 x floor area) + (7.5 x (# of bedrooms +1)):
Alternative compliance supplement (total local deficit / 4): |  |  | A / U: 25
Adjusted Qtot for alternative compliance supplement:
Note: if Qfan ≤ 15 CFM then no additional whole-building mechanical ventilation is required |  |  | Meas: Infiltration credit for blower door measurement Qinf = Q50 x S x wsf x .052:
Required whole-house mechanical ventilation rate Qfan = Adjusted Qtot - Qinf:
Section 9: Ventilation Requirements Post-Test (ASHRAE 62.2-2016)
Local demand-controlled ventilation |  |  | Meas: Required; Meas: Measured or Assume Zero; A / U: Shortfall; Meas: Window Credit 20 CFM (Y / N); Meas: Deficit; A / U: Alt Comp (Y)
Bathroom #1 demand-controlled flow rate (CFM): |  |  | Meas: 50
Bathroom #2 demand-controlled flow rate (CFM): |  |  | Meas: 50
Bathroom #3 demand-controlled flow rate (CFM): |  |  | Meas: 50
Bathroom #4 demand-controlled flow rate (CFM): |  |  | Meas: 50
Half-Bathroom #5 demand-controlled flow rate (CFM): |  |  | Meas: 0; A / U: 0; Meas: N/A; Meas: 0
Kitchen #1 demand-controlled flow rate (CFM): |  |  | Meas: 100; Meas: 0; A / U: 100; Meas: 100
Kitchen #2 demand-controlled flow rate (CFM): |  |  | Meas: 100
Note: If the flow through an operating, vented, kitchen exhaust fan or bathroom exhaust fan cannot be measured, then assume zero CFM. ASHRAE 62.2-2016 Appendix A3.1 |  |  | Meas: Total local deficit:; Meas: 100
Is whole-building mechanical ventilation required? |  |  | Meas: Weather and shielding factor (wsf):; Meas: Story factor (S):
Required whole-house ventilation rate Qtot = (.03 x floor area) + (7.5 x (# of bedrooms +1)):
Alternative compliance supplement (total local deficit / 4): |  |  | A / U: 25
Adjusted Qtot for alternative compliance supplement:
Note: if Qfan ≤ 15 CFM then no additional whole-building mechanical ventilation is required |  |  | Meas: Infiltration credit for blower door measurement Qinf = Q50 x S x wsf x .052:
Required whole-house mechanical ventilation rate Qfan = Adjusted Qtot - Qinf:
Describe the strategy used to make any corrections to local exhaust deficits and/or required whole-building mechanical ventilation:
Installed Whole-Building Mechanical Ventilation
Measured Continuous Ventilation Rate:
Timer Set point (minutes/hour):
General Inquiries: Ameren Illinois Residential Energy Efficiency Programs • 300 Liberty Street, 4th Floor, Peoria, IL 61602
For more information contact your Field Energy Specialist • Fax: 309.677.3370 • AmerenIllinoisSavings.com |  |  | -hold: HEP-1004-1119
edited 12-23-20
Note on L52: Acceptable/Unaccpetable
Note on R52: Acceptable/Unaccpetable

## No Heat Form
HOME EFFICIENCY INCOME QUALIFIED EMERGENCY NO-HEAT ASSISTANCE
Customer Information
Project ID |  |  | Customer Name | [6 empty] | Date
What is your primary heat fuel source (gas, electric, propane)?
Do you own or rent?
If YES, Explain:
Is Ameren your Primary Heating Fuel Supplier? |  |  |  |  | Yes |  | No
Name on Primary Heating Account:
Account Number on Primary Heating Bill:
Have you been provided a repair quote from a contractor? | [6 empty] | Yes | No
Do you have a secondary heat source? |  |  |  | Yes |  | No
General Notes:
Evaluator Information | [6 empty] | Safety Entrance Tests (Follow BPI-1200 Guidelines)
Company Name: | [6 empty] | Ambient CO reading: |  |  |  | PPM
Evaluator Name: | [6 empty] | Ambient LEL reading: |  |  |  | %
Thermostat Information
Type of thermostat in the home: |  |  | None |  | Manual |  | Programmable |  | Smart
Would you like a Smart Thermostat? |  |  |  | Yes |  | No
Notes:
HVAC System Information
HEATING SYSTEM INFORMATION | [5 empty] | COOLING SYSTEM INFORMATION
Heating System Type (select below) | [5 empty] | Cooling System Type (select below) | [6 empty] | A23 | J23
Select from dropdown: | [5 empty] | Select from dropdown: | [6 empty] | None Present | None Present
Year Manufactured: | [5 empty] | Year Manufactured: | [6 empty] | 79% or Less Gas Furnace | Window Units
Manufacturer: | [5 empty] | Manufacturer: | [6 empty] | 80 to 90% Gas Furnace | 10 SEER or Less CAC
Model Number: | [5 empty] | Model Number: | [6 empty] | > 90% Gas Furnace | 10.1 to 12.0 SEER CAC
Serial Number: | [5 empty] | Serial Number: | [6 empty] | ASHP | 12.1 SEER or Greater CAC
Approximate AFUE (%): | [5 empty] | Approximate SEER Rating: | [6 empty] | Electric Furnace | 10.0 SEER or Less ASHP
| Heating System Not Operational | [5 empty] | Cooling System Not Operational | [5 empty] | Baseboard Heat | 10.1 to 12.0 SEER ASHP
| DWH Gas | DWH Electric |  |  |  |  | Copper Gas Line Present | [5 empty] | 79% or Less Boiler | 12.1 SEER or Greater ASHP
Is the heating system and domestic water heater connected to the same vent system? | [9 empty] | Yes |  | No
Are there any known issues with your CAC (If Applicable)? | [6 empty] | Yes | No |  | N/A
General Notes:
Print Owner Name: | [5 empty] | Owner Signature:
System Evaluator Signature: | [8 empty] | Date:
Please provide photos of all equipment and manufacturers data plates with this data collection form, for proper documentation. Emergency Furnace installation must meet minimum Program specifications. See Available Residential Measures Section RM-20.1.3.1.
PLEASE DIRECT ALL CORRESPONDENCE TO: Ameren Illinois Energy Efficiency Programs 300 Liberty Street, 4th Floor, Peoria IL 61602 Toll-free: 1.866.838.6918 Fax: 1.309.677.7961 AmerenIllinoisSavings.com
MINIMUM SAFETY TESTING REQUIREMENTS for EMERGENCY FURNACE
PROGRAM ONLY
A quick CAZ visual inspection should be performed to ensure no immediate safety concerns. If any concerns are discovered a Disclaimer Form should be completed and submitted to the Program.
Complete an Ameren Disclaimer Form for every home with any other applicable items detected.
Complete BPI Conditions for entry (Ambient CO and Ambient LEL%).
Complete Ameren Fuel Distribution System Inspection on all homes with natural gas or propane fuel.
Complete a simplified spillage test on all homes with natural draft appliances.
1. Set up the home in winter like conditions (all exterior openings closed).
2. Close the door nearest to the combustion appliance that separates the appliance from the main body of the house.
3. Close the interior doors of all rooms except for rooms with an exhaust fan and rooms with a central forced-air system return.
4. Turn on the clothes dryer.
5. Turn on all exhaust fans including bathrooms and kitchen to their highest speed.
6. Check that the air handler fan on (if it depressurizes the CAZ).
7. Fire up the natural draft appliance and check for spillage with mirror or smoke pen. See time limits below.
Warm Vent (water heater or hot flue) Draft will be obtained within = 2 minutes
Cold vent (cold vent appliance) Draft will be obtained within = 5 minutes
> If the appliance drafts within the time limits listed above it is: PASS
> If the appliance does not properly daft within the time limits listed above then it is: FAIL
> If the appliance does not properly daft , turn off all exhaust fans and re-test at natural conditions to see if it drafts at natural conditions.
> If the simple test fails, appropriate measures must be submitted to the program with proposal.
Note: If the water heater is orphaned into a masonry chimney or if oversized due to the retrofit measure then a properly sized flue liner should be included on the project.
MINIMUM FINAL INSTALLATION REQUIREMENTS:
A Smart Stat should be installed if the homeowner agrees
Final Conditions per Ameren Available Residential Measures Guide: New Installed (per manufacturer’s instructions unless superseded by Program guidelines), operable natural gas fueled forced-air furnace with a minimum efficiency rating of 95% AFUE as proven by AHRI; unit must be sized according to ACCA Manual J and ACCA Manual S with load calculation software documentation provided accompanying Program paperwork; installation includes all associated items for change-out and may also include but is not limited to: re-work of supply plenum, re-work of return drop, re-work of filter cabinet, filter slot cover, air handler, properly sized blower and motor, venting of products of combustion, intake of combustion air from outside the home, condensate removal, electric, gas piping, gas pipe sediment trap, removal of old equipment, fasteners, screws, brackets, and hangers.

## Change Order Form
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM
PY21 Home Efficiency Change Order Form
Form Use: This form is to be used for to enumerate deviations from the approved reservation.
When submitting the Work Scope, Incentive Application and required documentation, please send all required documents to: ResidentialEEApplications@ameren.com
Proposed on Reservation |  | Reason for Change | Final Installed |  | Pricing Alteration
Meaure Description | Quantity |  | Measure Description | Quantity | Proposed | Final | Difference
1 | [6 empty] | 0
2 | [6 empty] | 0
3 | [6 empty] | 0
4 | [6 empty] | 0
5 | [6 empty] | 0
6 | [6 empty] | 0
7 | [6 empty] | 0
8 | [6 empty] | 0
9 | [6 empty] | 0
10 | [6 empty] | 0

## Measures (hidden)
Measure | Tier 1 | Tier 2 | Tier 3 | PP Max | E | G | Heating System 1 | yes
Air Sealing | 0.7 | 0.53 | 0.5 | 0.7 | 43% | 57% | Natural Gas Furnace 95% AFUE (System 1) | no
Attic Insulation R11-R49 | 1.5 | 1.13 | 0.9 | 1.5 | 34% | 66% | Natural Gas Boiler 90% AFUE (System 1)
Attic Insulation R19-R49 | 1.2 | 0.9 | 0 | 1.2 | 34% | 66% | Emergency Furnace
Wall Insulation | 1.8 | 1.35 | 0.9 | 1.8 | 36% | 64% | Heating System 2
Rim Joist Insulation | 2 | 1.5 | 1 | 4 | 63% | 37% | Natural Gas Furnace 95% AFUE (System 2)
Crawlspace Wall Insulation | 4 | 3 | 2 | check wall height ($5.50/$7.00) | 25% | 75% | Natural Gas Boiler 90% AFUE (System 2)
Exhaust Fan | 50 | 37.5 | 25 | $412/$512 | 100% | 0% | Emergency Furnace
Duct Sealing | 400 | 300 | 200 | 400 | 39% | 61% | Cooling System 1
Furnace | 2600 | 1950 | 0 | check size | 0% | 100% | Central AC SEER 16.0 and EER 12.5 or greater (System 1)
Boiler | 3400 | 2550 | 0 | check size | 0% | 100% | Air Source Heat Pump SEER 16.0 and HSPF 9.0 or greater (System 1)
CAC | 600 | 300 | 0 | check size | 100% | 0%
ASHP | 2400 | 1800 | 0 | check size | 100% | 0% | Cooling System 2
Blower Motor - New | 200 | 150 | 0 | 200 | 100% | 0% | Central AC SEER 16.0 and EER 12.5 or greater (System 2)
Smart Thermostat | 200 | 150 | 100 | 300 | 49% | 51% | Air Source Heat Pump SEER 16.0 and HSPF 9.0 or greater (System 2)
Heat Pump Water Heater | 500 | 500 | 0 | check size | 100% | 0%
Window AC | 300 | 225 | 0 | check size | 100% | 0% | Attic Insulation
Additional Costs | 0 | 0 | 0 |  | 86% | 14% | Attic Insulation - R11 or Less to R49 or greater
Emergency Furnace | 3000 | 3000 | 0 | 3000 | 0% | 100% | Attic Insulation - R19 or Less to R49 or greater
Crawl Space Wall Insulation
Wall Height Less than 2'
Wall Height 2' or Greater

## Home Efficiency - PY21 Pricing
PY21 Home Efficiency - Program Pricing with Incentive Tiers
"Not to exceed" prices. It is not required to charge the full amount if the work can be completed for less. *Tier 3 does not have "Not to exceed" prices.
Measure | Price* | TIER 1 Incentive | TIER 2 Incentive | TIER 3 Incentive | Unit | Specifications - Refer to the Available Residential Measures Guide & Building Envelope Field Guide for complete specs.
Incentivized Building Envelope Measures
Air sealing, general | 0.8 | 0.7 | 0.53 | 0.5 | Per CFM | Perform air sealing as needed in any portion of the home to reduce air flow. If the project includes blown attic insulation, then major bypasses in the attic must be air sealed. The pressure boundary between an attached garage and the home must be air sealed. Air sealing may include but is not limited to attic top plates, chases, registers, vents, boots, plumbing stacks, wiring penetrations, attic accesses of any type, whole-house fans, drop soffits, can lights, bath fans, fireplaces, fireplace chases, balloon framing, windows, doors, and bath tubs.
Attic Insulation - R11 or Less (Improved to R49 or greater) | 1.65 | 1.5 | 1.13 | 0.9 | SF | Includes blown cellulose or fiberglass insulation on flat or sloped surfaces of attics that meet program requirements for a financial incentive. Includes installation of baffles and any needed blocking or dams including but not limited to areas around attic accesses of any type, porches, whole-house fans, metal flues, masonry chimneys, and other high-temperature penetrations. Flat areas include areas above knee walls and areas behind knee walls.
Attic Insulation - R19 or Less (Improved to R49 or greater) | 1.35 | 1.2 | 0.9 | N/A | SF | Includes blown cellulose or fiberglass insulation on flat or sloped surfaces of attics that meet program requirements for a financial incentive. Includes installation of baffles and any needed blocking or dams including but not limited to areas around attic accesses of any type, porches, whole-house fans, metal flues, masonry chimneys, and other high-temperature penetrations. Flat areas include areas above knee walls and areas behind knee walls.
Dense-pack wall insulation | 2 | 1.8 | 1.35 | 0.9 | SF | Includes cellulose or program approved fiberglass insulation, removal of vinyl siding, drilling holes through sheathing, plugging and caulking holes, and replacement of vinyl siding for a residence with 4" wall framing. Includes same materials for use in vertical knee walls and sloped knee walls with 4" framing.
Rim joist insulation and air seal | 4.4 | 2 | 1.5 | 1 | LF | Includes either closed cell spray foam or rigid foam board cut and sealed using either one-part foam or caulk resulting in an R-value of R-10 or greater, please refer to the Available Residential Measures guide for a complete list of allowable materials.
Crawl space wall insulation |  |  |  |  | LF | Installed according to manufacturers instructions with an R-value of R-10 or greater (Example: Silvercote or equivalent), please refer to the Available Residential Measures guide for a complete list of allowable materials.
Wall height less than 2' | 6.05 | 4 | 3 | 2
Wall height 2' or greater | 7.7 | 4 | 3 | 2
Additional Measures
Prep & Finish Siding (Aluminum or Steel) | 0.35 |  |  |  | SF | Additional Charge used to supplement the Dense-pack wall insulation measure. For drilling through aluminum or steel siding and sheathing as well as plugging and caulking hole. Does not include removal and re-installation of aluminum or steel siding. When complete, plugs will be visible. Does not include painting, finishing, or covering of plugs. This item will appear in additional work area of building envelope section with area to be treated. example: Prep & Finish Aluminum Siding (100 SF)
Prep & Finish Siding (Clapboard or Wood) | 0.25 |  |  |  | SF | Additional Charge used to supplement the Dense-pack wall insulation measure. For drilling through clapboard or wood siding and sheathing as well as plugging and caulking holes. Does not include removal and re-installation of clapboard or wood siding. This item will appear in additional work area of building envelope section with area to be treated. example: Prep & Finish Wood Siding (100 SF)
Prep & Finish Siding (Asbestos or Asphalt) | 1.1 |  |  |  | SF | Additional Charge used to supplement the Dense-pack wall insulation measure. For removal of asbestos or asphalt shingles or siding, drilling holes through sheathing, plugging and caulking holes, and replacement of asbestos or asphalt shingles or siding. Do not drill suspect asbestos siding. Refer to the Suspect ACM White Paper. This item will appear in additional work area of building envelope section with area to be treated. example: Prep & Finish Asphalt Siding (100 SF)
Cantilever insulate (floor over open outside conditions) | 5.5 |  |  |  | SF | May include dense pack cellulose or program approved fiberglass insulation, spray foam, or rigid foam board. Includes deconstruction and reconstruction if necessary. Area can be incentivized under wall insulation, consult with your Field Energy Specialist.
Floor insulation dense-pack | 4.2 |  |  |  | SF | Includes cellulose or fiberglass insulation dense-pack under floor. May include floor behind knee walls. Must separate conditioned space from unconditioned space (typically for rooms over a garage).
Insulate duct work in an unconditioned space | 5.7 |  |  |  | LF | For attics and vented crawl space areas (not garages). Attain R-value of R-8 or greater.
Crawl space vapor barrier | 1.15 |  |  |  | SF | Refer to the Health & Safety Field Guide. Section 2.4.3
Attic ventilation (per 1 SF net free area) | 115 |  |  |  | SF | Refer to the Building Envelope Field Guide. Section 4.1.6.1
Vent exhaust fan to gable end or to roof (not to soffit) | 165 |  |  |  | Each | Termination of fan vent must penetrate gable-end or roof. Terminating an exhaust fan vent duct at or near roof or gable vents is not permissible.
Ventilation controls | 85 |  |  |  | Each | May include wall switches or other controls to operate an existing bathroom exhaust fan in order to meet the requirements of ASHRAE 62.2-2016. The existing fan must operate at a sound level of 1.0 sone or less.
Combustion Air Inlet | 150 |  |  |  | Each | Install to prevent or correct combustion safety failure by bringing outside air into the Combustion Appliance Zone, sized as per NFPA 54.
Transfer grille | 97 |  |  |  | Each | To alleviate pressure imbalance(s) associated with reducing depressuration to correct or prevent combustion appliance spillage or drafting concerns. Sized per NFPA 54. Consult with your Field Energy Specialist.
Flue liner | 400 |  |  |  | Each | Includes a properly sized liner installed to manufacturer's specification to prevent or correct a combustion safety failure.
Cut & close rough access | 85 |  |  |  | Each | If needed includes headers around the opening for support as well as replacement of the wall material. Does not include mud, tape, or finishing.
Knee wall door access | 155 |  |  |  | Each | Includes cutting an access and installing an air tight, insulated, operable door into a knee wall space. Includes framing around the door.
Insulate & Weather-strip vertical attic door | 70 |  |  |  | Each | Refer to the Building Envelope Field Guide. Section 4.1.5.2.1.
Insulate attic pull down stairs | 210 |  |  |  | Each | Refer to the Building Envelope Field Guide. Section 4.1.5.1
Decommission whole-house attic fan | 340 |  |  |  | Each | Includes safe disconnection and termination of electrical wiring. Prepares the opening to be air sealed and insulated. Does not include mud, tape, or finishing.
Supply Air ventilation solution | 440 |  |  |  | Each | Includes a supply ventilation solution installed to run demand-controlled and either continuously or intermittently to meet the requirements of ASHRAE 62.2-2016. Includes any necessary electric work. Does not include drywall or plaster finishing and does not include venting. Currently accepted solutions: Fresh air cycler - style products tied to a forced air HVAC system (like AirCycler).
Exhaust Fan, Moisture reduction | 165 |  |  |  | Each | Includes the installation of a new or inoperable exisitng exhaust fan in a bathroom with a shower and/or bathtub with the intent to remove excess moisture from the area. Includes any necessary electric work. Does not include drywall or plaster finishing and does not include venting. This measure requires building envelope work to be performed at the residence.
BPI Combustion Safety Testing | 250 |  |  |  | Each | All diagnostic testing needed to comply with BPI 1200 Combustion Appliance Inspection and program guidelines including, but not limited to: test-in, test-out, and any intermediate testing required for a project. Both test-in and test out results must be documented by the program ally using the Energy Audit Diagnostic Test Form.
BPI Infiltration and Ventilation Testing | 140 |  |  |  | Each | All diagnostic testing needed to comply with BPI 1200 Indoor Air Quality and Ventilation and ASHRAE standard 62.2-2016 and program guidelines including, but not limited to: test-in, test-out, and any intermediate blower door and ventilation testing required for a project with building envelope measures. Both test-in and test out results must be documented by the program ally using the Energy Audit Diagnostic Test Form.
Return Ductwork Repair | 495 |  |  |  | Each | When needed to right-size airflow system to ensure proper functioning of HVAC.
Additional Ductwork | 415 |  |  |  | Per Room | Example: Adding a duct run and drops (supply) to 2 new rooms to more evenly distribute conditioned air.
Relocate Water Heater | 330 |  |  |  | Each | Example: Better position or remove/re-install the water heater when new equipment is installed. To improve water heater venting configuration.
Sump Pump | 440 |  |  |  | Each | To mitigate moisture in a crawlspace so that a vapor barrier/full project can be initiated and completed.
Natural Gas Power-Vented Tank Water heater | 2200 |  |  |  | Each | When required due to a combustion safety failure with the existing water heater. Consult with your Field Energy Specialist if sizing varies from existing water heater.
Power-Vented Draft Assist Kit | 750 |  |  |  | Each | To ensure existing natural draft water heater is venting exhaust properly.
Interior Wall Drill-and-blow Repair | 4.4 |  |  |  | Per Hole | To properly finish interior wall area where holes are drilled for wall insulation.
Upgrade Electrical Panel |  |  |  |  | Each | To accommodate installation of new Air Source Heat Pump or Heat Pump Water Heater. Consult with your Field Energy Specialist for pricing approval.
Ductless Air Source Heat Pump "Mini-Split" |  |  |  |  | Each | Example: 2nd story or room addition where existing HVAC cannot be modified to properly condition living space that is currently under-conditioned. Consult with your Field Energy Specialist for pricing approval.
Garage Ceiling Insulation |  |  |  |  | SF | To ensure proper insulation and air barrier between garage and living space above. Consult with your Field Energy Specialist for pricing approval.
Interior Garage Door Replacement | 360 |  |  |  | Each | To ensure proper air barrier between an attached garage and adjacent living space (where door meets minimum requirements of International Residential Code (IRC)).
Tier 2: Warm Neighbors Cool Friends Bonus
Tier 2: Gas Furnace/Boiler Copay
Tier 2: Gas Project Bonus
Tier 1/Tier 2: Gas Single Fuel Project Bonus
Incentivized HVAC Measures
*Tier 3 = Standard Heating & Cooling Offering Incentives
95% Natural Gas Furnace
up to 40,000 BTU | 3500 | 2600 | 1950 | N/A | Each | Includes properly sized furnace using Manual J and Manual S, 95% AFUE (minimum) and all associated items for change-out installed as per manufacturer's installation instructions. May include, but is not limited to: re-work of supply plenum, re-work of return drop, re-work of filter cabinet, filter slot cover, air handler, properly sized blower and motor, venting of products of combustion, intake of combustion air from outside the home, condensate removal, electric, gas piping, removal of old equipment, fasteners, screws, brackets, and hangers.
up to 60,000 BTU | 3650 |  |  |  | Each
Up to 80,000 BTU | 3800 |  |  |  | Each
Up to 100,000 BTU | 3950 |  |  |  | Each
Greater than 100,000 BTU | 4100 |  |  |  | Each
90% Natural Gas Boiler
up to 40,000 BTU | 6600 | 3400 | 2550 | N/A | Each | Includes properly sized boiler using Manual J and Manual S, 90% AFUE (minimum) and all associated items for change-out installed as per manufacturer's installation instructions. May include but is not limited to: re-work of water supply, water piping connections, properly sized circulator pump(s), venting of products of combustion, intake of combustion air from outside the home, electric, gas piping, condensate removal, removal of old equipment, fasteners, screws, brackets, and hangers.
up to 60,000 BTU | 6800 |  |  |  | Each
Up to 80,000 BTU | 7050 |  |  |  | Each
Up to 100,000 BTU | 7250 |  |  |  | Each
Up to 120,000 BTU | 7500 |  |  |  | Each
Greater than 120,000 BTU | 7700 |  |  |  | Each
16 SEER Air Conditioner
1.5 ton | 3950 | 600 | 300 | 300 | Each | Includes properly sized air conditioner using Manual J and Manual S, AHRI 16 SEER (minimum) and all associated items for change-out installed as per manufacturer's installation instructions. May include but is not limited to: re-work of supply plenum, re-work of return drop, re-work of filter cabinet, filter slot cover, properly sized blower and motor, replacement of line set (or flush), pad, refrigerant, disconnect, condensate removal, electric, recovery of old refrigerant, removal of old equipment, fasteners, screws, brackets, and hangers.
2.0 ton | 4100 |  |  |  | Each
2.5 ton | 4300 |  |  |  | Each
3.0 ton | 4600 |  |  |  | Each
3.5 ton | 4900 |  |  |  | Each
4.0 ton | 5150 |  |  |  | Each
4.5 ton | 5450 |  |  |  | Each
5.0 ton | 5800 |  |  |  | Each
16 SEER Air Source Heat Pump
1.5 ton | 7950 | 2400 | 1800 | 600 | Each | Includes properly sized air source heat pump using Manual J and Manual S, AHRI 16 SEER (minimum) and all associated items for change-out installed as per manufacturer's installation instructions. May include but is not limited to: re-work of supply plenum, re-work of return drop, re-work of filter cabinet, filter slot cover, properly sized blower and motor, replacement of line set (or flush), pad, refrigerant, disconnect, condensate removal, electric, recovery of old refrigerant, removal of old equipment, fasteners, screws, brackets, and hangers.
2.0 ton | 8200 |  |  |  | Each
2.5 ton | 8300 |  |  |  | Each
3.0 ton | 8750 |  |  |  | Each
3.5 ton | 8950 |  |  |  | Each
4.0 ton | 9450 |  |  |  | Each
4.5 ton | 10000 |  |  |  | Each
5.0 ton | 10100 |  |  |  | Each
High Efficiency Blower Motor
Installed in new gas furnace | 220 | 200 | 150 | N/A | Each | BPM (Brushless Permanent Magnet) ECM (Electronically Commutated Motor) Must be documented on AHRI certificate provided for new furnace. Must be part of incentivized furnace replacement.
Energy Star Certified Heat Pump Water Heater
Less than 50 Gallon | 3150 | 500 | 500 | Consult with your distributor | Each | Must be replacement of existing electric water heater. Energy Star Certified - refer to Energy Star Certified Products List on Ally Portal. Installed per manufacturer's recommendations & local code(s) as applicable.
50 - 55 Gallon | 3300 |  |  |  | Each
60-65 Gallon | 3450 |  |  |  | Each
Other Sizes | [5 empty] | Consult with your Field Energy Specialist.
Energy Star Certified Room Air Conditioner
Less than 8,000 BTU | 550 | 300 | 225 | N/A | Each | Must be replacement of an existing room air conditioner that is not Energy Star certified or is over 10 years old. Refer to the Energy Star Certified Products List on the Ally Portal. Installed per manufacturer's recommendations & local code(s) as applicable. Unit must be installed & window installations must include weatherization of the window. Existing unit(s) must be recycled through Program authorized methods. Incentives limited to the # of bedrooms plus 1, with a maximum of 4. Room air conditioners may be incentivized even when central air is present given this is a replacement of a qualifying existing room a/c & the room the window air conditioner is installed in is not cooled by the central air conditioner.
8,000 to 11,999 BTU | 650 |  |  |  | Each
12,000 BTU or greater | 800 |  |  |  | Each
Associated Electrical modification |  |  |  |  | Each | If existing electrical connection doesn't meet manufacturer's installation recommendations and/or local code(s). Consult with your Field Energy Specialist.
Other HVAC Measures
Smart Thermostat | 330 | 200 | 150 | 100 | Each | May replace an existing manual or programmable thermostat. Refer to Energy Star Certified Products List on Ally Portal.
Bathroom exhaust fan w/o light | 455 | 50 | 37.5 | 25 | Each | Includes an exhaust fan installed to run demand-controlled and either continuously or intermittently to meet the requirements of ASHRAE 62.2-2016. Includes any necessary electric work. Does not include drywall or plaster finishing and does not include venting.
Bathroom exhaust fan w/light | 565 | 50 | 37.5 | 25 | Each | Includes an exhaust fan installed to run demand-controlled and either continuously or intermittently to meet the requirements of ASHRAE 62.2-2016. Includes any necessary electric work. Does not include drywall or plaster finishing and does not include venting.
Seal heating system duct work in an unconditioned space | 440 | 400 | 300 | 200 | Per Home | 50% or more of heating duct system must be located in un-conditioned space. All accessible trunks, ducts, plenums, boots, boot to drywall connections to be sealed.
Air Handling Cabinet |  |  |  |  | Each | For use with Dedicated CAC/Hydro-Air Coils. No specific program price. Price will be reviewed for reasonableness on a case-by-case basis. Consult with your Field Energy Specialist.
Revised 7/9/21

## Revision Tracking (hidden)
2021-01-07 | Rev 3 | Revisions: Add Attic Insulation R19 or less to R49 to application, add emergency furnace option, change program pricing tab for PY21
1. Added lines 49-53 for Attic Insulation R19 of less to R49 table
2. Added N49 to sum formula on N113
3. Added Q49 to sum formula on Q113
4. Added Y49 to sum formula on Y113
5. Added line 29 to Transmittal Res tab
6. Added line 29 to Transmittal Inc tab
7. Corrected Column J formulas on Transmittal Inc tab
8. Set print area and page breaks for Inspection Disclaimers tab
9. Added emergency furnace option to Heating System drop down list and populated table on the Workbook Tab. Added measure to the Measures tab.
10. Revised max program pricing for attic insulation measures on Tranmittal Res and Transmittal Inc tabs
11. Updated lines 117 to 131 for Home Efficiency - PY21 Pricing additional measures
2021-01-14 | Rev 4 | Revisions: Allow Ameren account numbers to begin with a zero, revise emergency furnace incentive to $3000
1. Removed data validation from T14
2. Revised B19 and C19 on Measures tab to $3000
2021-02-01 | Rev 5
2021-04-06 | 1. Moved wall height drop down box from rim joist to crawl space insulation measure
2. Set High Efficiency Blower Motor Incentive price
3. Revised font from Times New Roman to Calibri on the following lines of the Workbook: Project Notes 23-26, Additional Energy Efficiency Cost 117-131, 155-157
4. Increased row height on ally/customer signature lines in Sections 5 and 6 of the Workbook
5. Updated Workbook footer
6. Locked cell R110 on Diagnostic Test Form
7. Replaced Home Efficiency - PY21 Pricing tab with updated version 3/31/21. Reset look up table cells for Additional Energy Efficiency Cost section.
8. Added condition if Emergency Furnace is selected, the High Efficiency Blower Motor measure is grayed out
9. Added line 109 to the Workbook to have the ally confirm that the existing room air conditioner will be recycled
10. Added drop down list to cell K106 to allow 0-4 room air conditioners
11. Added condition on quantity of room air conditioners to highlight red if number is greater than number of rooms plus one on Diagnostic Test Form
12. Reset print area on Inspection Disclaimers tab
13. Locked O6 on Diagnostic Test Form
14. Replaced ID/AMIL # on Transmittal tabs to Opportunity/Opportunity Name
15. Add checkbox on Inspection Disclaimer form for Asbestos section?
16. Added Off Workscope Costs form
17. Define BG and AG crawl space wall insulation height? - sidelined
18. Add no heat ASHP product?
19. Added no heat form
20. Revised Heating System 2 incentive look up to populate measure incentive
21. Updated incentive amounts on Measure tab for Tier 2 CAC and Tier 3 Attic and Air Sealing measures
22. Added PP Max to column E of Measures tab. Created look up reference for PP Max values on Transmittal Res and Transmittal Inc tabs
23. Added drop down box allowing quantity of 0,1,2 for BPM measure
2021-05-10 | Rev 6
1. Revised smart thermostat measure quantity to 0 or 1 (removed the 2 option)
2. Provide a "None" option for existing attic insulation type
3. Added • Ancillary Costs Form for Tier 1 and Tier 2 applicants to required documentation for reservation submittals
4. Revised Ancillary Costs Form to include checkbox for remediation costs
5. Removed option for a heat pump water heater over 55 gallons. Set conditional formatting to turn cell red if capacity is over 55.
6. Replaced Home Efficiency - PY21 Pricing tab with updated version 5/13/21. Reset look up table cells for Additional Energy Efficiency Cost section.
2021-06-07 | Rev 7
1. Replaced Home Efficiency - PY21 Pricing tab with updated version 6/7/21. Reset look up table cells for Additional Energy Efficiency Cost section.
2. Set file properties in Advanced window to "Set precision as displayed" when calculating this workbook.
2021-06-30 | Rev 7.1
1. Added text on line 29 of Ancillary Cost Form
2. Replaced option for a heat pump water heater over 55 gallons. Removed conditional formatting to turn cell red if capacity is over 55.
3. Updated PY21 Pricing tab to include other HPWH size options
2021-07-09 | Rev 8
1. Revised program pricing tab to include the three Tier 2 bonuses and additional Tier 1/2 Gas Single Fuel Project Bonus in the additional measures drop down list: WNCF, furnace/boiler copay, gas project bonus, gas single fuel project bonus. Lines 48-51 have been hidden.
2. Replaced Home Efficiency - PY21 Pricing tab with updated version 7//21. Reset look up table cells for Additional Energy Efficiency Cost section.

## Lists (hidden)
Natural Gas |  | Building Envelope
LP Gas | Natural Draft | HVAC
Electric | Natural Draft w/Flue Liner | Building Envelope and HVAC
N/A | Power Vent
| HPWH | A
| None | B
Yes
Yes | No
No | NA
N | Natural Gas
S | Electric
W | NA
E
North | Tank
South | On Demand
West | Heat Pump
East | Other
All | NA
Good
Fair | Blown cellulose
Poor | Blown fiberglass
Very Poor | Fiberglass batt
Mixed types
Natural Gas Furnace | Mineral Wool
Natural Gas Boiler | Vermiculite
ASHP | Perlite
Electric Resistance | Spray Foam
Other
None
ASHP | Manual
CAC | Programmable
Mini-Split Heat Pump | Smart
Window Unit
2+ CAC Units | Basement
2+ ASHP Units | Crawlspace
NA | Slab
Crawlspace & Slab
0% | Basement & Slab
Less Than 25% | Basement & Crawlspace
Less than 50% | Basement & Crawlspace & Slab
More Than 50%
More Than 75%
100% | Primary - HVAC Only - No Testing
Primary - Performing Testing
Secondary
Metal
Flex
Metal & Flex | Attic
Fiber Board | Basement
None | Crawlspace
Garage
Rooftop
Other
None

## Reference (hidden)
Pricing Comparison Lookup | [5 empty] | 2 | 3 | 4 | HEP | HEP Only | Approved
1 |  | HEP Only | HVAC Only | Comprehensive | Measure | Incentive | kWh | therms | HVAC | HVAC Only | Denied
2 | Average Project Cost: | 6491 | 8676 | 12110 | Air Sealing | 0.7 | 0.68 | 0.06 |  | Comprehensive
3 | Maximum Project Cost: | 11716 | 14207 | 16616 | Attic Insulation - R11 to R49 | 1.5 | 0.59 | 0.05
4 |  |  |  |  | Wall Insulation | 1.8 | 0.61 | 0.05 |  | Retail Cost
5 |  |  |  |  | Kneewall Insulation | 1.8 | 0.61 | 0.05 |  | kWh | 0.14
6 | Average Incentive %: | 52% | 59% | 60% | Rim Joist Insulation | 2 | 0.72 | 0.06 |  | therms | 0.85
7 | Minimum Incentive %: | 25% | 36% | 40% | Crawlspace Wall insulation | 4 | 4.46 | 0.41
8 |  |  |  |  | Duct Sealing | 400 | 618.62 | 128.42
9 |  |  |  |  | Ameren Illinois HVAC Bonus
10 | Average $/SF: | 3.61 | 6.42 | 8.67 | Gas Furnace 95% AFUE | 2400 | 0 | 352.75
11 | Maximum $/SF: | 6.13 | 12.14 | 13.34 | Gas Boiler 90% AFUE | 3200 | 0 | 519.13
12 |  |  |  |  | CAC 16.0 SEER | 1200 | 961.69 | 0 | Yes
13 |  |  |  |  | ASHP 16.0 SEER | 2400 | 9047.57 | 0 | No
14 | Average $/MMBTU: | 98.9 | 576.88 | 193.92 | High Efficiency Blower Motor - new | 200 | 679.4 | 0 |  | Moderate
15 | Maximum $/MMBTU: | 178.52 | 944.69 | 266.07 | High Efficiency Blower Motor - retrofit | 400 | 710 | 0 |  | Low
[5 empty] | Programmable Thermostat - Gas Heat | 50 | 49.11 | 53.38
| Averages based on PY8 data through January 2016. Maximums and minimums are 1.28 standards deviations from the mean to set standard at 90th percentile. |  |  |  | Programmable Thermostat - ASHP | 50 | 648.77 | 0
[5 empty] | Programmable Thermostat - Electric Res. Heat | 50 | 959.54 | 0
[5 empty] | Smart Thermostat- Gas Heat | 200 | 286.79 | 63.71
[5 empty] | Smart Thermostat- ASHP | 200 | 989.49 | 0
[5 empty] | Smart Thermostat- Electric Res. Heat | 200 | 1493.85 | 0
Ameren Illinois Building Envelope Bonus
[5 empty] | High Efficiency Bathroom Exhaust Fan | 50
[5 empty] | Heat Pump Water Heater | 2000