## START HERE
Application Instructions :
1. Begin by completing Section 1-6 on the HVAC workbook tab.
a. Information entered on this tab will populate fields on Unit Detail Tab
b. Any additional notes regarding the project should be entered in the Notes section
c. Section 3: Energy Efficiency Measure Information
(a) Include all equipment information including quantity and distributor information . Incentive will populate based on channel.
(b) Include smart thermostat information including EnergyStar ID, make, model and number of total stats.
If compatible with equipment, Program Ally must install a smart thermostat provided within the incentive.
Multifamily program staff can assist with procurement, if needed.
d. Attachments should include:
i. AHRI certifications for all models installed
ii. Itemized invoice to include scope of work, Ameren incentive, co-pay information as well as the property signature.
iii. Pre and post photos of the installation to include existing and new equipment model serial number tag.
e. Project delivery, start and completion date must be completed.
**Any changes should be communicated with Angie Stewart, Program Assistant as soon as possible.
2. On the Heat Pump Unit Details Tabs, enter all building and unit details as well as information on the existing and proposed systems.
a. Total fields should align with the Total Units entered from the HVAC workbook tab.
b. AHRI certifications should be provided for all proposed equipment listed.
**If your equipment changes, please ensure to update and resubmit your HVAC workbook.
c. Separate properties with the same owner, will need separate applications.
d. For larger projects, please submit applications broken out phases. See Angie Stewart, Program Assistant for additional support.
e. Any additional notes regarding the project should be entered in the Notes section

## HVAC Workbook
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM
PY2025 Multifamily HVAC Workbook
Please complete the application, provide a copy to the customer, attach required documentation and send it to the following email address: IllinoisMultifamilyEE@ameren.com. All projects will receive a project number via email. The project number is required prior to project start date. All program paperwork must be submitted within 30 days of the project completion or by December 15, 2025, whichever comes first.
Project Number: | OSS Number: |  |  |  |  | Channel:
Section 1: Property Information
Property Name:
Mailing Address: |  |  | City: |  |  | State: |  | Zip Code:
Owner/Manager Name: |  |  | Title:
Phone: |  |  | Email:
Ameren Illinois Electric Account for Property (if available):
Property Street Address: |  |  | City: |  |  | State: | IL | Zip Code:
Number of Tenant Buildings: |  |  | Number of Additional Buildings (non tenant):
Number of Tenant Units: |  |  | Number of Stories: |  |  | Foundation Type:
Primary Heating Fuel: |  |  | Roof Type:
Heating System: |  |  | AFUE (if gas): |  |  |  | Manufacture Year:
Cooling System: |  |  | AC Efficiency (Nameplate SEER): |  |  |  | Manufacture Year:
Section 2: Program Ally Information
Program Ally Company Name: |  |  | Program Ally Contact Name:
Mailing Address: |  |  | City: |  |  | State: |  | Zip Code:
Phone: |  |  | Email:
Section 3a: Energy Efficiency Measure Information
Measure |  | Incentive Rate |  | Quantitiy |  | Distributor |  | Sub-Total
Ductless Heat Pump - AHRI SEER2 15.2, HSPF2 8.1 |  | 0 | per Unit |  | Units |  |  | 0
Air Source Heat Pump (Ducted) - AHRI SEER2 15.2, HSPF2 8.1 |  | 0 | per Unit |  | Units |  |  | 0
Window Air Conditioner - must be Energy Star certified |  | 1 | per SF |  | Total SF | NA |  | 0
Energy Recovery Ventilator |  | 1 | per SF |  | Total SF | NA |  | 0
Health & Safety Total - Health and Safety Cost for each building cannot exceed $300 per unit served or half of the total project cost. | [7 empty] | 0
HVAC Bonus |  | 1500 | per Bldg. |  | Buildings | NA |  | Waitlist
Total Incentive: | [7 empty] | 0
Section 3b: Energy Efficiency Measure Information - Please fill out if Smart Thermostats were installed.
Smart Thermostat - Energy Star Certified |  | Energy Star ID |  | Quantity |  | Make |  | Model
Provided by Ameren Illinois Energy Efficiency Program? |  |  |  |  | Units
Section 4: Attachments
 Heat Pump Unit Details |  |  |  AHRI Certificate for all Models installed
 Pre/Post Pictures |  |  |  Itemized Invoices
Section 5: Project Information
Expected Delivery Date: | Projected Start Date: |  |  |  |  | Projected Completion Date:
Section 6: Reservation Request - Customer Authorization of Project
I, the undersigned, agree that the information above is representative of what has been discussed and proposed by the participating program ally (contractor). I understand that Ameren Illinois program incentives and financing are subject to qualifications and not guaranteed.
Customer Signature: | [5 empty] | Date:
Program Ally Signature: | [5 empty] | Date:
Section 7: Incentive Payment Request - Acknowledgement of Project Completion
I certify the information I have provided is true and correct and any work performed meets the program guidelines and Terms and Conditions of the Program. I hereby request an incentive for the above listed work and understand the incentive cannot exceed 100% of the project cost. I agree to allow Ameren Illinois Program staff to perform an on-site Quality Assurance inspection to confirm test results and verify the work performed. Do not sign prior to project completion.
Customer Signature: | [5 empty] | Date:
Program Ally Signature: | [5 empty] | Date:
MULTIFAMILY INITIATIVE
Customer Application
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM TERMS AND CONDITIONS
1. Definitions – In addition to terms defined elsewhere herein, when any one of the following terms is used in these Terms and Conditions, wherein the first letter is written with a capital letter, then that term shall have the following definition. Words importing persons include corporation, and words importing only the singular include the plural and vice versa when the context requires. a) “Ameren Illinois” shall mean Ameren Illinois Company d/b/a Ameren Illinois. b) “Prime Implementer” shall mean Leidos Engineering, LLC that has been selected by Ameren Illinois to administer and oversee the Ameren Illinois Energy Efficiency Program. c) “Program Ally” shall mean contractors/ allies who have met the minimum qualifications established by Ameren Illinois and the Prime Implementer and are allowed to offer program incentives. d) “Application” shall mean the Customer or Program Ally completed document used to apply for cash incentives or used for any other appropriate application-specific documentation. e) “Customer” shall mean an Eligible Customer who has submitted an Application for incentive money using their Ameren Illinois account number. f) “Eligible Customer” shall mean a residential customer of Ameren Illinois, with an active Ameren Illinois-delivered electric or gas account residing in an existing home or new construction. Individually metered residential multifamily units must have prior program approval to participate. The Application must be filled out completely and accurately, signed and accompanied by dated copies of the invoices. See the project/measure eligibility for requirements specific to individual incentives. g) “Program” shall mean the Ameren Illinois Energy Efficiency Program and the plan or measure that is the subject of an Application. h) “Program Manager” shall mean the Prime Implementer designee in charge of the Program. i) “Pre-approval”, when required, shall mean written notification via a pre-approval letter to the Program Ally that Ameren Illinois or Prime Implementer has reviewed Customer's Application and determined that the project meets the program eligibility requirements for a maximum pre-approved incentive amount if the project is completed by the estimated completion date and all final application paperwork is submitted and approved.
2. General – These Terms and Conditions shall apply to this Agreement.
3. Independent Contractor – Customer acknowledges that a listing in the Program Ally database does not constitute any endorsement of the Program Ally by Ameren Illinois. Program Ally is an independent contractor participating in the Program and not an employee of, or under contract to, Ameren Illinois or the Prime Implementer. Program Ally is not authorized to assume or create any obligation or liabilities, express or implied, on behalf of or in the name of Ameren Illinois or the Prime Implementer.
4. Pre and Post Installation Verification – Ameren Illinois or the Prime Implementer is not obligated to make any incentive payment until it has performed a satisfactory post-installation verification. This provision may be waived at the sole discretion of Ameren Illinois or the Prime Implementer. Inspections conducted are solely for the purpose of determining Program compliance and are not safety or building code inspections.
5. Incentive Payments/Limits – For all Applications, Ameren Illinois and the Prime Implementer are not obligated to award any incentive payment unless a reservation form and/or Application is submitted and granted (Pre-approval). Pre-approval reserves incentive funds for a period up to the estimated completion date provided in the Pre-approval letter. Customer and the Customer selected Program Ally are responsible for ensuring the Application is accurate and equipment meets eligibility requirements in order to receive the Pre-approval incentive payment. Incentive payments will be issued to Program Ally. The Program Ally shall inform Customer of Program financial incentives and shall include a discount to the Customer in the amount of the incentive, labeled on Customer’s invoice as “Ameren Illinois Energy Efficiency Program Incentive.”
6. Warranty – Ameren Illinois and the Prime Implementer do not warranty craftsmanship and do not make any representations or warranties of any kind regarding the work to be performed by the Program Ally. The Program Ally is required by the Program to provide Customer with a written warranty covering both labor and materials for a minimum of one year from the date the services are performed. All materials installed shall carry the manufacturer’s warranty, which will be provided to the Customer. Offers of, and documentation referring to, any applicable extended warranty coverage shall be supplied to the Customer by the Program Ally.
7. Indemnification – Customer agrees to protect, indemnify, defend and hold harmless Ameren Illinois, the Prime Implementer, and their respective affiliates, subsidiaries, parent companies, officers, directors, agents, subcontractors, and employees (collectively the “Indemnified Parties”), against all losses, damages, expenses, fees, costs and liability arising from any program, design, consulting, measures, product, system, equipment, pre-existing conditions (health or safety) or appliance. Customer agrees that such obligations under this section shall survive any expiration or termination of this Agreement and shall not be limited to any remunerations herein of required insurance coverage. To the maximum extent permitted by law, the Customer agrees to limit the Indemnified Parties’ liability to the Customer for any reason to the total amount of incentive payments identified in this Agreement. This limitation shall apply regardless of the cause of action or legal theory pled or asserted.
8. Changes In/Cancellation of the Program – a) Ameren Illinois and the Prime Implementer may change the program requirements, incentives, or these Terms and Conditions at any time without notice, including suspending acceptance of Applications, denial of Applications already received but not pre-approved, or terminating the Program. b) In the event of a program change, Applications that have been granted Pre-approval will be processed to completion under the Terms and Conditions in effect at the time of Pre-approval. c) Cash incentives under the Ameren Illinois Program are offered on a first-come, first-served basis and are subject to project and Customer eligibility, and the availability of funds.
9. Miscellaneous – Ameren Illinois and the Prime Implementer reserve the right to make changes to the Program, program incentives, rules, guidelines, and these Terms and Conditions upon written notice to the Customer. These Terms and Conditions shall be governed by Illinois law.
General Inquiries: Ameren Illinois Energy Efficiency Program • 300 Liberty St, 4th Floor, Peoria, IL 61602 Toll-free: 1.866.838.6918 • AmerenIllinoisSavings.com
MULTIFAMILY INITIATIVE
Program Ally Agreement ("Agreement")
AMEREN ILLINOIS ENERGY EFFICIENCY PROGRAM TERMS AND CONDITIONS
As part of a Program Ally’s participation in the Ameren Illinois Energy Efficiency Program Home Efficiency Income Qualified (HEIQ) Initiative, Ameren Illinois requires adherence to this Agreement as detailed below. This Agreement ensures both the HEIQ initiative and participating Program Ally clearly agree with the expectations of Ameren Illinois and its high standards of integrity, safety and customer service.
1. Definitions – In addition to terms defined elsewhere herein, when any one of the following terms is used in these Terms and Conditions, wherein the first letter is written with a capital letter, then that term shall have the following definition. Words importing persons include corporation, and words importing only the singular include the plural and vice versa when the context requires. a) “Ameren Illinois” shall mean Ameren Illinois Company. b) “Prime Implementer” shall mean Leidos Engineering, LLC that has been selected by Ameren Illinois to administer and oversee the Ameren Illinois Energy Efficiency Program. c) “Program Ally” shall mean contractors/ allies who have met the minimum qualifications established by Ameren Illinois and the Prime Implementer and are allowed to offer program incentives and perform services associated with the Program. d) “Application” shall mean the Customer or Program Ally completed document used to apply for cash incentives or used for any other appropriate application-specific documentation. e) “Customer” shall mean an Eligible Customer who has submitted an Application for incentive money using their Ameren Illinois account number. f) “Eligible Customer” shall mean a residential customer of Ameren Illinois, with an active Ameren Illinois-delivered electric or gas account residing in an existing home or new construction. Individually metered residential multifamily units must have prior program approval to participate. The Application must be filled out completely and accurately, signed and accompanied by dated copies of the invoices. See the project/measure eligibility for requirements specific to individual incentives. g) “Program” shall mean the Ameren Illinois Energy Efficiency Program and the plan or measure that is the subject of an Application. h) “Program Manager” shall mean the Prime Implementer designee in charge of the Program. i) “Pre-approval”, shall mean written notification via a pre-approval letter to the Program Ally that Ameren Illinois or Prime Implementer has reviewed Customer's Application and determined that the project meets the program eligibility requirements for a maximum pre-approved incentive amount if the project is completed by the estimated completion date and all final application paperwork is submitted and approved.
2. General – Program Ally shall abide by these Terms and Conditions and by all local, state and federal guidelines, applicable laws, building codes, regulations and licensing requirements; and perform work in accordance with customary installation standards, and/or according to manufacturer specifications.
3. Procedures & Reporting – Program Ally shall follow Program procedures of; a) verifying eligibility of Customer and work to be performed; b) reserving funds from Program in advance of the project commencing by submitting a reservation form and/or Application supplied by the Program for work performed with all required documentation. Program Ally agrees to timely provide all documentation associated with specified projects for quality assurance. Program Ally must provide necessary supporting documentation of services rendered including invoices and site assessment reports as requested.
4. Independent Contractor – Listing in the Program Ally database does not constitute any endorsement of the Program Ally by Ameren Illinois or the Prime Implementer. Program Ally is an independent contractor participating in the Program and not an employee of, or under contract to, Ameren Illinois, the Prime Implementer or Program staff and authorized Ameren Representatives. Program Ally is not authorized to assume or create any obligation or liabilities, express or implied, on behalf of or in the name of Ameren Illinois, the Prime Implementer or Program staff and authorized Ameren Representatives. Program Ally shall properly represent this to the Customer. Failure to do so shall be considered a breach of the terms of this Agreement.
5. Warranty of Work – Program Ally shall provide the Customer a written warranty covering both labor and materials for a minimum of one year from the date the services are performed. All materials installed shall carry the manufacturer’s warranty, which will be provided to the Customer. Offers of, and documentation referring to, any applicable extended warranty coverage shall be supplied to the Customer.
6. Quality Assurance – Program Ally will maintain effective procedures for quality assurance as for resolution of Customer complaints or disputes and for response to Customer emergencies. Program Ally agrees to make its quality assurance procedures available to the Program for review upon request. Only trained and skilled personnel of Program Ally shall supervise any project performed under the Program. All work is subject to quality assurance and verification inspections by Program before incentive payments are paid. The Program Manager is the sole authority in determining that the work is complete and eligible for payment. If the applicable Program Manager determines the Program Ally’s work is not up to Program standards, upon request from the Program representative, Program Ally shall make reasonable repairs or corrections to bring such work up to Program standards at no additional cost to the Customer. Program Manager shall have sole authority in determining the necessary remedies to correct faulty work.
7. Pre and Post Installation Verification – Ameren Illinois and the Prime Implementer are not obligated to make any incentive payment until it has performed a satisfactory post-installation verification and received all relevant documentation. This provision may be waived at the sole discretion of Ameren Illinois or the Prime Implementer. Inspections conducted are solely for the purpose of determining Program compliance and are not safety or building code inspections.
8. Incentive Payments/Limits – For all Applications, Ameren Illinois and the Prime Implementer are not obligated to award any incentive payment unless a reservation form and/or Application is submitted and granted (Pre-approval). Pre-approval reserves incentive funds for a period up to the estimated completion date provided in the Pre-approval letter. Customer and Program Ally are responsible for ensuring the Application is accurate and equipment meets eligibility requirements in order to receive the Pre-approval notification. The Program Ally shall inform Customer of Program financial incentives, and shall include a discount to the Customer in the amount of the incentive, labeled on Customer’s invoice as “Ameren Illinois Energy Efficiency Program Incentive.” Any incentive payments not credited toward the Customer’s invoice may require the issuance of a 1099 to the Program Ally.
9. Program Measures/Product – Program Ally is solely responsible for any measures/product, if any, in its possession that are provided by the Program for installation. Program Ally agrees to return or pay for the measures or products upon request from the Prime Implementer or when it ceases to function as a Program Ally for the Program.
10. Insurance, License and Certification – Program Ally shall provide proof of the necessary insurance coverages and its Illinois Commerce Commission (ICC) Certified Installer status. Program Ally must also provide a list of all Building Performance Institute (BPI) certified employees, specifying the current BPI certifications held by each employee. Program Ally must have a valid contractor’s license to perform work under the Program.
11. Safety – Program Ally shall comply with all federal, state and local laws and regulations pertaining to health, safety, sanitary facilities and waste disposal. Program Ally shall meet all requirements of the Occupational Safety and Health Act of 1970 (OSHA) including all amendments. Additionally, the Program Ally is responsible to comply with any Program requirements.
12. Indemnification – Program Ally hereby releases and shall indemnify, hold harmless, and defend Ameren Illinois, the Prime Implementer, and their respective affiliates, subsidiaries, parent companies, officers, directors, agents, subcontractors, and employees (collectively, “Indemnified Parties”) from any and all claims, losses, harms, costs, liabilities, damages, and expenses (including attorney’s fees) of any nature whatsoever arising directly or indirectly out of or in connection within any dispute or legal suit arising from work related to the Program unless the claims or suits are caused solely by the action or inaction of the Indemnified Parties. In no event shall any of the Indemnified Parties be liable for any punitive, exemplary, special, indirect, incidental or consequential damages (including but not limited to, lost profits, lost business opportunities, loss of use or equipment down time, and loss of or corruption to data) arising out of or relating to the Program, regardless of legal theory under which such damages are sought.
13. Limitation of Liability – Ameren Illinois and the Prime Implementer’s total liability to Program Ally under these Terms and Conditions shall be limited to payment of the amount of the incentive payments due to the Program Ally as authorized in the Pre-approval.
14. Changes In/Cancellation of the Program – a) Ameren Illinois and/or the Prime Implementer may change the program requirements, incentives, or these Terms and Conditions at any time without notice, including suspending acceptance of Applications, denial of Applications already received but not pre-approved, or terminating the Program. b) In the event of a program change, Applications that have been granted Pre-approval will be processed to completion under the Terms and Conditions in effect at the time of the Pre-approval. c) Cash incentives under the Ameren Illinois Program are offered on a first-come, first-served basis and are subject to project and Customer eligibility, and the availability of funds.
15. Violation of the Agreement – Suspected violations of any provision of this Agreement will be reviewed and addressed as appropriate. When a violation of the Agreement has been identified, it may constitute a breach of the Agreement resulting in disciplinary action, including suspension or termination from the work under the Program.
16. Termination - Participation in the Program is voluntary and may be terminated by either party at any time, with or without cause for any reason without penalty.
17. Miscellaneous – Ameren Illinois and the Prime Implementer reserve the right to make changes to the Program, program incentives, rules, guidelines, and these Terms and Conditions upon written notice to the Program Ally. These Terms and Conditions shall be governed by Illinois law.
General Inquiries: Ameren Illinois Energy Efficiency Program • 300 Liberty St, 4th Floor, Peoria, IL 61602 Toll-free: 1.866.838.6918 • AmerenIllinoisSavings.com

## Heat Pump Unit Details
Heat Pump Unit Details
Project Number: | [5 empty] | OSS Number:
Existing System | [5 empty] | Proposed System
| Building Name | Unit Name | Total Heating Capacity (est. kW) | Remaining Capacity (est. kW) | SEER of Existing AC Unit | AHRI # | SEER2 | Cooling Capacity (btuh) | HSPF2 | Heating Capacity @47 (btuh) | EER2 | # of Heads | Cost
# | 2 | 4a | 20 | 2 | 8 | 1234567 | 18 | 24000 | 10.5 | 26000 | 12 | 2 | 8000
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Total Units: | [9 empty] | Total Cost:
Field Notes:
Program Notes:
1: | Tenant units must receive electric service from Ameren Illinois.
2: | Separate complexes will need separate incentive applications.
3: | Heat Pump unit must be replacing an operable resistance heat unit as the primary source of heat for the tenant unit.
4: | If Central Air Conditioning is present as the primary source of cooling, it must be 10 SEER or less to qualify for Heat Pump replacement.
5: | Window/Wall AC units that are the primary source of cooling for the unit must be removed.
4: | The new Heat Pump must be 15.2 SEER2 and 8.1 HSPF2 as certified by the AHRI Certificate. AHRI Certificates for each proposed model should be submitted with the application.
5: | Repairs to the exterior façade and interior wall repair if wall air conditioners must be removed, are the responsibility of the property.
6: | Stats procured by the MF team that are not installed must be returned. Failure to do so may result in the program assessing applicable fees or charges.
7: | Completion of city/county inspections if appliable: All coordination should be between the program ally and the property.

## Window AC Unit Level Details (hidden)
Window AC Unit Details
Reservation Number: | [5 empty] | OSS Number:
Existing System |  |  |  |  | Proposed System
| Building Name | Unit Name | Cooling Capacity (btuh) | EER of Existing AC Unit | Make | Model | Cooling Capacity (btuh) | CEER of New AC Unit | Type (see description below) | Cost
# | 2 | 4A | 8000 | 7.7 | Koldfront | WTC8002WCO | 8000 | 10.6 | Casement-Slider | 250
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Total Units: |  |  | Total Cost:
Notes:
1: | Side Louvers extend from a room air conditioner model in order to position the unit in a window. A model without loubered sides is placed in a built-in wall sleeve and are commonly referred to as "through-the-wall" or "built-in" models.
2: | Casement-Only refers to a room air conditioner designed for mounting in a casement window of a specific size.
3: | Casement-Slider refers to a room air conditioner with an encased assembly designed for mounting in a sliding or casement window of a specific size.

## Health & Safety - Costs (hidden)
Energy Efficiency Program
MF IQ and PH Health and Safety Costs Information Form
Please complete all required information and submit this form as an attachment to the Reservation Request
CUSTOMER AND PROGRAM ALLY INFORMATION
Project #: |  |  | OSS #:
Customer Name: |  |  | Date:
Company Name: |  |  | Employee Name:
Not Applicable
HEALTH AND SAFETY COSTS INFORMATION
Location | Health and Safety Measure |  |  |  | Cost
Vapor Barrier
Vent Exhaust Fan Outside
Health and Safety Items Total: |  |  |  |  | 0
General Notes:
I certify the information I have provided is true and correct and any work performed meets the program guidelines and Terms and Conditions of the Program.
Print Customer Name: |  | Customer Signature:
Program Ally Signature: |  |  |  | Date:
PLEASE DIRECT ALL CORRESPONDENCE TO: Ameren Illinois Energy Efficiency Programs PO Box 5098, Peoria IL 61601-9998 Toll-free: 1.866.838.6918 Fax: 1.309.677.7961 AmerenIllinoisSavings.com

## Health & Safety - PY24 Pricing (hidden)
PY24 Home Efficiency - Health and Safety Items and Pricing
"Not to exceed" prices. It is not required to charge the full amount if the work can be completed for less.
Health & Safety Item | Price | Unit | H&S Item Description | Before Project | During Project | Before or During Project
HVAC System Repair & Replacement - Un-safe operating condition or non-working system
Service calls & diagnostics | * | Each | Directly related to line items 6-10. First step in correction of many H&S related concerns such as, but not limited to: no heat, a/c, related water damage to furnace or surrounding area, spillage, water heater issues, thermostat issues, gas leaks, & carbon monoxide concerns. |  |  | Y
Repair of primary heating source | * | Each | Restore heat and/or correct un-safe condition with heating system |  |  | Y
Repair of primary cooling source | * | Each | Directly relates to the heating system not working properly or water damage to the connected heating system and/or surrounding area, or line set leak. |  |  | Y
Clean indoor evaporator coil | * | Each | Directly relates to the heating system not working properly or water damage to the connected heating system and/or surrounding area. |  |  | Y
Replace indoor evaporator coil | * | Each | Directly relates to the heating system not working properly or water damage to the connected heating system and/or surrounding area. |  |  | Y
Condensate Pump (Plus related items) | * | Each | Correct or prevent water damage issues resulting from improper condensate removal. |  |  | Y
Disclaimer Related
Bulk Moisture - Leads to many issues including but not limited to: mold, degradation of building materials, & IAQ concerns.
Vapor Barrier | 1.3 | Square foot | Prevent communication of ground moisture into building envelope and/or onto building components. |  | Y
Sump pump repair or replacement | 505 | Each | Correct or prevent water accumulation within the building envelope. |  |  | Y
New sump system installation (pit, trenching, & drainage tile) | * | Each/Per Square Foot | Correct or prevent water accumulation within the building envelope. | Y
Crawlspace dig out - create enough height for accessibility | * | Each | When necessary for vapor barrier installation & potentially other measures to be completed within the crawlspace. | Y
Horizontal guttering | * | Linear Foot | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. |  |  | Y
Gutter accessories (downspout & extensions) | * | Linear Foot | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. |  |  | Y
Exterior water management | * | Case by Case | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. | Y
Roofing, siding, or other minor exterior work to prevent water from entering building | * | Case by Case | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. | Y
Drain clearing (typically floor) | * | Each | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. Sewer back-ups present other H&S related concerns as well. | Y
Minor plumbing repair | * | Each | Correct or prevent water accumulation within the building envelope. Correct and/or prevent water related damage to building components. | Y
Water heater repair | * | Each/ Case by Case | Correct and/or prevent water related damage to building components. |  |  | Y
Water heater replacement | * | Each/ Case by Case | Correct and/or prevent water related damage to building components. Correct an un-safe operating condition or consider when the cost of the initial or multiple repairs are substantially close to replacement cost. |  |  | Y
Asbestos: Duct Wrap and Flue Pipe
Encapsulation and Enclosure (Duct Wrap) | * | Each (or each joint) | Address friable suspect asbestos that could be disturbed during the course of a project. Friable asbestos is known to cause respiratory issues and is a carcinogen. | Y
Remediation | * | Each House | Address friable suspect asbestos that could be disturbed during the course of a project. Friable asbestos is known to cause respiratory issues and is a carcinogen. | Y
Repair from Damaging Incident
Interior pressure boundary surface (ceilings, walls) repair | * | Per Square Foot | Unforeseen damage not attributable to the Program Ally or Program staff. Ensure a safe level of heating/cooling can be maintained. Prevent/stop moisture or pest entry. |  |  | Y
Removal/replacement of existing un-fit (compromised) insulation | * | Per Square Foot/Case by Case | Alleviate potential indoor air quality concerns. Establish a safe environment for those entering spaces containing insulation that is damaged in some way, typically moisture or pest related. Maybe previous mold or fire damage. | Y
Combustion Safety and Fuel Distribution System
Venting system repair & replacement | * | Each | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Flue Liner | 460 | Each | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Draft assist & power venting kits | 865 | Each | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Service Calls & diagnostics | * | Time | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Water heater repair/replacement | 2530 | Each/Case by Case | Ensure combustion appliance exhaust is properly vented outside. Correct and/or prevent water related damage to building components. Correct an un-safe operating condition or consider when the cost of the initial or multiple repairs are substantially close to replacement cost. |  |  | Y
Work Intended to Reduce Depressurization / Correct back drafting & Spillage / Resolve interior ambient CO concerns
Transfer/passive air grilles | 112 | Each | To alleviate pressure imbalance(s) associated with reducing depressuration to correct or prevent combustion appliance spillage or drafting concerns. Sized per NFPA 54. |  |  | Y
Make up air | 173 | Each or Volume Required | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Combustion air | 173 | Each | Correct an un-safe operating condition. Ensure combustion appliance exhaust is properly vented outside. |  |  | Y
Combustion Safety Testing (non project) | 290 | Each | Validate combustion safety. Address a related concern that develops post project or in the case of no project being eligible for another reason. | Y
Gas leak repair | * | Each | Resolve customer health & safety related concerns attributable to acute or chronic exposure and potential ignition of gas. | Y
Appliance gas line replacement or removal and disposal | * | Each | Resolve customer health & safety related concerns attributable to acute or chronic exposure and potential ignition of gas. | Y
Gas line replacement or removal and disposal | * | Linear Foot | Resolve customer health & safety related concerns attributable to acute or chronic exposure and potential ignition of gas. | Y
Adding shut-off valves where none are existing | * | Each | Establish a way to shut off gas to individual appliances without shutting off gas to whole home when there is a gas leak in the home. |  |  | Y
Carbon Monoxide Alarms | 70 | Each | Provides assurance that customers will be alerted to hazardous CO levels on an on-going basis. |  |  | Y
Ventilation Related
Vent exhaust fan outside | 190 | Each | Remove moisture and indoor air contaminants from the home |  | Y
* Consult with your Field Energy Specialist for pricing approval. | [5 empty] | Revised 5/24/2022

## Revision Tracker (hidden)
Rev # | Changes
1 | Initial release for PY24
2 | Added Waitlist option
3 | Added $6500 option
removed link between incentive and program type
4 | added $7700 incentive

## Lists (hidden)
Foundation Types | Insulation Types | Air Source Heat Pump Incentive |  | Health and Safety List
Slab on Grade | Blown Cellulose | Multifamily Income Qualified | 6500 | Service calls & diagnostics
Basement | Blown Fiberglass | Public Housing | 6500 | Repair of primary heating source
Crawlspace | Spray Foam | Market Rate | 2500 | Repair of primary cooling source
Garage Under |  |  |  | Clean indoor evaporator coil
Other | Question | Pass/Fail |  | Replace indoor evaporator coil
| yes | Pass |  | Condensate Pump (Plus related items)
Heating Fuel | no | Fail |  | Vapor Barrier
Natural Gas |  |  |  | Sump pump repair or replacement
Electric | Window AC Type | DHP Incentive |  | New sump system installation (pit, trenching, & drainage tile)
Propane | Side Louvers | Multifamily Income Qualified | 6500 | Crawlspace dig out - create enough height for accessibility
Other | Casement-Only | Public Housing | 6500 | Horizontal guttering
| Casement-Slider | Market Rate | 2500 | Gutter accessories (downspout & extensions)
Heating System |  |  |  | Exterior water management
Forced Air Furnace | Channel |  |  | Roofing, siding, or other minor exterior work to prevent water from entering building
Baseboards | Multifamily Income Qualified |  |  | Drain clearing (typically floor)
Boiler | Public Housing |  |  | Minor plumbing repair
Ducted Heat Pump | Market Rate |  |  | Water heater repair
Ductless Heat Pump | Waitlist |  |  | Water heater replacement
PTAC |  |  |  | Encapsulation and Enclosure (Duct Wrap)
Space Heaters | CO Detector |  |  | Remediation
Other | Yes |  |  | Interior pressure boundary surface (ceilings, walls) repair
| No |  |  | Removal/replacement of existing un-fit (compromised) insulation
Cooling Type |  |  |  | Venting system repair & replacement
No Cooling System | BPI Action Level |  |  | Draft assist & power venting kits
Central AC | Proceed with work |  |  | Service Calls & diagnostics
Window AC | Service call |  |  | Water heater repair/replacement
Ducted Heat Pump | Stop work |  |  | Transfer/passive air grilles
Ductless Heat Pump |  |  |  | Make up air
PTAC |  |  |  | Combustion air
Chiller |  |  |  | Combustion Safety Testing (non project)
Combination |  |  |  | Gas leak repair
Other |  |  |  | Appliance gas line replacement or removal and disposal
Gas line replacement or removal and disposal
Roof Type |  |  |  | Adding shut-off valves where none are existing
Peak |  |  |  | Carbon Monoxide Alarms
Flat |  |  |  | Vent exhaust fan outside
Other